## Slide 1
An-Najah National University
Building Engineering Department
Women Recreation Center Project
Prepared by :Hama Kamal Mansour
Isra’ Yousef Dwaikat
Lana Faisal Sabbah
Supervisor Dr. Mokarram Abbas

## Slide 2
Architectural Design Concept & Functional Relations
Environmental Design
Structure of Building & Detailing
Lighting & Electrical Considerations
Mechanical Design
BOQ Surveying
Outline
Notes: Arch. Hama
Str. Isra
Env. Hama
Mech./ Elec. Isra
BOQ Lana

## Slide 3
Architectural Design
Target Area and Traffic Direction:

## Slide 4
Ground Floor- Plan
Notes: Arch. Hama
Str. Isra
Env. Hama
Mech./ Elec. Isra
BOQ Lana

## Slide 5
Lobby & Reception
Kids Zone
Administrative Offices
Lockers
Mechanical Room
Ground Floor – Block1

## Slide 6
Ground Floor – Block2
Storage
Lockers & WCs
Multi-Sports Hall

## Slide 7
Ground Floor – Block3
Swimming Pool

## Slide 8
Ground Floor – Block4
GYM
Juice Bar
Spinning
Dance Studio

## Slide 9
First Floor – Plan

## Slide 10
First Floor- Block 1

## Slide 11
First Floor- Block 4:
Dinning Area
Terrace
Cashier
Bar
Kitchen
Storage

## Slide 12
Environmental Design

## Slide 13
Daylight Calculation
Thermal Calculation
Acoustical Design
Environmental Design

## Slide 14
Zone | Maintained IL luminance | Value | 
 |  | D.F | Lux
GYM | 500 | 11.1% | 999
Spinning | 300 | 3.32% | 296.69
Studio | 300 | 4.21% | 378.54
Manager | 500 | 3.24% | 201.61
Secretary | 500 | 4.39% | 395
Kids Zone | 300 | 2.86% | 257.07
Restaurant | 500 | 4.59% | 413.38
Avg. Daylight Values:
Environmental Design

## Slide 15
Double Tented Glass:
U-Value = 2.4
Solar Heat transmitted = 15%
Visible Light Transmitted =35%
Environmental Design

## Slide 16
Thermal Design:
Material properties
Heating and Cooling Load
Heat Gain Breakdown
Temperature Distribution.
Environmental Design

## Slide 17
Material properties
External Wall Details
U-value = 0.87 W/m2.K
Thermal Lag= 6.4 hrs.
Environmental Design

## Slide 18
Material properties
Internal Wall
U-value = 0.64 W/m2.K
Thermal Lag= 0.74 hrs.
Ground Floor
U-value = 0.39 W/m2.K
Thermal Lag= 14.14 hrs.
Environmental Design

## Slide 19
Material properties
Ceiling
U-value = 0.51 W/m2.K
Thermal Lag= 9.55 hrs.
Roof
U-value = 0.27 W/m2.K
Thermal Lag= 0.6 hrs.
Environmental Design

## Slide 20
Heating and Cooling Load
@ Winter:
Total Heating = 23.3 KWh/m2
@ Summer:
Total Cooling = 49.5 KWh/m2
Environmental Design

## Slide 21
Heat Gain Breakdown:
Heat Gain Increase Cooling load or decrease
Heating load
Heat Loss Increase Heating load or decrease
Cooling load
55.8%
17.4%
18.5%
10.0%
89.50%

## Slide 22
Temperature Distribution:
Cold
In Comfort
Hot
Environmental Design

## Slide 23
Acoustical Design
RT 60
STC
IIC
Environmental Design

## Slide 24
Acoustical Design for Gym:
Values for Original wall
Values for Modified wall
Environmental Design

## Slide 25
STC & IIC Values
For Inner Wall between Spinning and GYM:
Total STC of wall = 63 db .
TLwall =56 db TLdoor(wood door )= 38
TL tot (cal)= 10 log ( Atot /∑Si*10^-0.1*TLi)
= 60.1 db > 60 db
- STC (External Wall) = 63 db > 60 db
- IIC (False Ceiling) = 68 db > 60
Environmental Design

## Slide 26
Soil Improvement and Properties
SAP - 3D Dynamic Model
Structural Elements Detailing
Building Structure & Detailing

## Slide 27
Soil Improvement and Properties
Brownish Silt Clay Soil Bearing Capacity
Before Improvements = 150 KN/m2
Soil Bearing Capacity After Improvement = 200 KN/m2
2 m
Building Structure & Detailing

## Slide 28
Seismic Design
Importance factor (I) = 1
Soil profile: Silt Clay
Seismic Coefficient (Cv)= 0.32
Seismic Coefficient (Ca)= 0.24
Structural system Coefficient (R) = 5.5
The Structural System in Nablus
Sway Intermediate

## Slide 29
Seismic Joints
Seismic Joint Thickness = 4 cm for Each
Building Structure & Detailing

## Slide 30
3D Dynamic Model - SAP
3D Model SAP - Block 1
3D Model SAP - Block 2
Project Blocks
Building Structure & Detailing

## Slide 31
SAP Validation Checks – Block 2
1- Compatibility Check
2- Equilibrium Check
3- Internal Forces Check
Load | Manual | Sap | Error
Dead load | 8164 KN | 8265 KN | 1.2 %
Live load | 2888 KN | 2902 KN | 0.48 %
Super Imposed | 2206 KN | 2216.5 KN | 0.47 %
Element | Error
Slab | 3.86 %
Beam | 2.37 %
Columns | 11%

## Slide 32
Footing and Tie Beams Layout – Block 2

## Slide 33
Isolated Footing Detailing
Section 1-1 in F1
Top View – F1
Footing | Dimensions
F1 | 2.90*2.60
F2 | 2.30*2.00
F3 | 2.20*1.90
F4 | 1.80*1.50

## Slide 34
Tie Beams Detailing

## Slide 35
Columns and Frame Detailing – Block 2
Columns Dimensions 60*30 cm

## Slide 36
Columns and Frame Detailing
Frame Detailing

## Slide 37
One Way Ribbed Slab Detailing – Block 2

## Slide 38
One Way Ribbed Slab Detailing – Block 2
Section 1-1 in Rib

## Slide 39
Main Beams Detailing – Block 2
Section 1-1
B12

## Slide 40
Secondary Beams Detailing – Block 2
Section 1-1
B31

## Slide 41
Block 1

## Slide 42
Shear Wall Design - Block 1
Shear Wall (1) Detailing

## Slide 43
Stairs Detailing - Block 1

## Slide 44
Luminaire Distribution
Socket Arrangement
Electrical Distribution Boards
Lighting and Electrical Considerations

## Slide 45
Luminaire Distribution
Fitness GYM
Frameless Recessed
Luminaire Square 60*60 cm
Power = 72 Watt
Avg. Lux = 575
Standard Lux = 500
UGR = 14
Uniformity = 0.645
Lighting and Electrical Considerations

## Slide 46
Luminaire Distribution
Fitness GYM Artificial Lighting
Arrangement
Lighting and Electrical Considerations

## Slide 47
Luminaire Distribution
Kids Zone
Frameless Ceiling mounted
luminaire square 60*60 cm
Power = 72 Watt
Avg. Lux = 381 - 457
Standard Lux = 400
UGR = 13
Uniformity = 0.567 – 0.69
Lighting and Electrical Considerations

## Slide 48
Sockets Arrangement
Table Sockets Water Proof Sockets Underground Sockets
Lighting and Electrical Considerations

## Slide 49
Essential Distribution Boards

## Slide 50
Main Distribution Boards

## Slide 51
Essential Distribution Boards with Generator

## Slide 52
Water Supply System
Drainage System
HVAC System
Mechanical Design

## Slide 53
Water Supply System:
Individual demand in club building from water is 50 liter/person.
The size of the tank will be computed over three days.
30% of the tank size is for firefighting and cleaning.
We have four tanks and each two tanks give one pipe for supply
Mechanical Design

## Slide 54
Water Supply System:
Mechanical Design

## Slide 55
Drainage System
Septic tank
Street Manhole
Mechanical Design

## Slide 56
Drainage System:
Black water
Gray water
Mechanical Design

## Slide 57
Drainage System:
Mechanical Design

## Slide 58
HVAC System:
- Cooling Load:
Zone | Cooling Load | Zone | Cooling Load
GYM | 36 | Restaurant | 22.849
Spinning | 4.09 | Kitchen | 3.208
Studio | 7.19 | Rest Room | 0.205
Manager | 1.68 | Break Room | 0.38
Secretary | 0.467 | Beauty Salon | 13.597
Marketing | 0.561 | Treatment | 0.4453
Corridor | 0.821 | Facial | 0.45
Common Area | 3.16 | Waxing | 0.486
Kids Zone | 4.39 | Massage | 0.573
Corridor GF | 2.301 | Corridor FF | 4.31
Locker | 5.33 | Lobby | 12.5
Mechanical Design

## Slide 59
HVAC System:
- Heating Load:
Zone | Heating Load | Zone | Heating Load
GYM | 1.843 | Restaurant | 13.744
Spinning | 0.478 | Kitchen | 0.07
Studio | 1.3 | Rest Room | 0.094
Manager | 0.845 | Break Room | 0.065
Secretary | 0.273 | Beauty Salon | 0.301
Marketing | 0.059 | Treatment | 0.140
Corridor | 0. 3 | Facial | 0.117
Common Area | 1.124 | Waxing | 0.215
Kids Zone | 1.605 | Massage | 0.246
Corridor GF | 1. 14 | Corridor FF | 1.416
Locker | 0.982 | Lobby | 8.067
Mechanical Design

## Slide 60
HVAC System
Mechanical Design

## Slide 61
HVAC System
Cooling Load = 7.19
Heating Load = 1.3
For Studio Gym Zone:
Mechanical Design

## Slide 62
HVAC System
For Lookers Zone:
Mechanical Design

## Slide 63
Fire extinguishers and sprinklers
Safety Signs
Emergency exits
Safety Design

## Slide 64
Fire Extinguishers and Sprinklers
Safety Design

## Slide 65
Fire Extinguishers and Sprinklers
Fire extinguisher
sprinklers
Safety Design

## Slide 66
Safety signs:
Safety Design

## Slide 67
Safety signs:
Evacuation Route
Safety Design

## Slide 68
Emergency Exits for First Floor:
Safety Design

## Slide 69
Type | Cost ($)
Structural Design | 67665
Electrical Design | 42550
Mechanical Design | 143467
Finishes | 126750
Total cost\ m2 | 540 $\m2
B.O.Q Surveying