## Slide 1
An-Najah National University
Faculty Of Engineering
Building Engineering Department
Graduation Project – 2
An-Najah Sport Center
Prepared By: Alaa Sholi Fakher Qassem Mohammad Yaaqbeh
Project supervisor: Dr. Asaad Arandi

## Slide 2
Outline:
Introduction
Site of the Project
Architectural design
Structural design
Environmental design
Mechanical design
Electrical design

## Slide 3
Introduction :
2
1
3
4
1: Main Building
Area : 1570 m2 for each floor
2: Olympic Swimming pool
Area : 3040 m2
3: Basket Ball court
Area : 3200 m2
4: Multipurpose Building
Area : 1200 m2 for each floor

## Slide 4
Site of the project :
Eastern of Nablus city.
In front of “Qadri Toqan School”.
Area = 18000 m2

## Slide 5
Topography of site:

## Slide 6
Architectural design

## Slide 7
Site Plan:

## Slide 8
Main Building Plans :
Ground Floor
Total Area= 1570m2

## Slide 9
Main Building Plans :
First Floor
Total Area= 1570m2

## Slide 10
Main Building Plans :
Second floor
Total Area= 1570m2

## Slide 11
Pool Building plans:
Basment floor
Total Area= 3040m2

## Slide 12
Pool Building plans:
Ground floor
Total Area= 3040m2

## Slide 13
Pool Building plans:
First floor
Total Area= 3040m2

## Slide 14
Elevations:
West Elevation

## Slide 15
Elevations:
East Elevation

## Slide 16
Elevations:
North Elevation

## Slide 17
Elevations:
South Elevation

## Slide 18
Section:
Section A-A

## Slide 19
Environmental design

## Slide 20
Ecotect analysis:

## Slide 21
Daylight factor:

## Slide 22
Day light factor:

## Slide 23
Layers of side walls:

## Slide 24
Thermal Loads :
Heating load :
Max Heating: 269736 W at 12:00 on 18th January
Cooling load :
Max Cooling: 464773 W at 13:00 on 15th August

## Slide 25
Acoustical Solution:
Tecsound Acoustic Roof Membrane

## Slide 26
Acoustical Solution:
Inside view
Micro perforated steel Deck
Outside view

## Slide 27
Recommended pool insulation :
Thermal Covering :

## Slide 28
Recommended pool insulation :
Wall insulation: “Quad-lock Panels, U-value = 0.15-0.28 W/m2.k”

## Slide 29
Structural design

## Slide 30
Design codes:
The American Concrete Institute code (ACI 318-08).
American Institute Of Steel Construction code (AISC 360-05)
The seismic design according to UBC-97.
The analysis and design were done using SAP2000, and Etabs 2013 programs.

## Slide 31
Design data :
1. Concrete compressive strength
f’c =24 MPa for slabs and beams.
f’c =28MPa for shear walls, columns and footings.
2.Yielding strength of steel
The yield strength of steel Fy= 420MPa
3. Bearing capacity of soil
the bearing capacity of soil = 200 KN/m2

## Slide 32
Structural systems :
Two way solid slab with drop beams “Main Building”
Truss system “Pool Building”
One way ribbed slab “Pool Building”
Thickness :
Two way solid slab = 25cm
Truss system span = 3m
One way ribbed slab = 30cm

## Slide 33
Structural elements:
Main building :
1. Beams :
2.Columns dimension
3.Footing dimension
Type | Dimensions(mm)
Main beams | 600X700
Type | Dimensions(mm)
rec. column | 600X900
Type | Dimensions(m)
Isolated Footing (interior) | 4.8X4.5X0.85
Isolated Footing (Edge) | 4.1X3.8X0.90
Isolated Footing (Corner) | 3.1X2.8X0.90
Combined Footing | 4.35X7.75X0.80

## Slide 34
Structural elements:
Pool building :
1. Truss members sections :
2. Stadium: “ 10 Steps, slope 27”
3. Olympic swimming pool : (50X25X3)m
Type | Dimensions(mm)
Hollow rec. section (Top) | 168X240X10
Hollow rec. section (Bottom) | 260X182X10
Hollow rec. section (Braces) | 140X140X7
Type | Dimensions(cm)
Landing | 80
Run | 40

## Slide 35
Structural elements:
Pool Building:
3. Beams :
4.Columns dimension
5.Footing dimensions
Type | Dimensions(mm)
Main beams | 750X400
Secondary beams | 400X300
Type | Dimensions(mm)
Rec. column | 750X400
Type | Dimensions(m)
F(1) | 1.5X1.8X0.50
F(2) | 2.30X2.00X0.50
Combined Footing | 4.20X2.10X0.50

## Slide 36
Structural design for
Main Building

## Slide 37
Distribution of Columns:

## Slide 38
3D Model in etabs for B1

## Slide 39
Checks :
1. Compatibility :

## Slide 40
Checks :
2. Equilibrium :
 | Manual | Etabs | % Error
Dead load | 15610.8 | 15431 | 1.15%

## Slide 41
Seismic design Using response spectrum
W= 23637.18 kn , Include D.L+S.D+0.25LL
I = 1
R= 4.5
Ca=0.24
Cv=0.32
T = 0.314 sec
V = 315.1 ton

## Slide 42
Slab reinforcement :

## Slide 43
Slab reinforcement :

## Slide 44
Beams reinforcement :

## Slide 45
Column reinforcement :

## Slide 46
Footing design :

## Slide 47
Footing reinforcement : (Isolated footing F1)

## Slide 48
Footing reinforcement : (Combined footing CF)

## Slide 49
Footing reinforcement : (Combined footing CF)

## Slide 50
Structural design for
Pool Building

## Slide 51
Truss system:

## Slide 52
Truss system:

## Slide 53
Truss system: (designed sections)
For top bars: (TUBO 240X168X10)
For Bottom members : (TUBO 260X182X10)

## Slide 54
Truss system: (designed sections)
For Braces: (TUBO 140X140X7.1)
For steel column (HLS 280):

## Slide 55
Truss system: (Connections)

## Slide 56
Truss system: (Connections)
Connection 1

## Slide 57
Truss system: (Connections)
Connection 2

## Slide 58
Truss system: (Connections)
Connection 3
Connection 4

## Slide 59
Swimming pool design:
SAP Model :

## Slide 60
Swimming pool design:
Reinforcement :

## Slide 61
Distribution of Columns:

## Slide 62
Slab and Beams:
Slab Sec.

## Slide 63
Beams reinforcement:
Main Beams :

## Slide 64
Beams reinforcement:
Secondary beams :

## Slide 65
Distribution of Footings:

## Slide 66
Design of Footings:
CF

## Slide 67
Stadium design:
Sap model :

## Slide 68
Stadium design:
Reinforcement:

## Slide 69
Electrical Design

## Slide 70
Distribution
of sockets for
main building:

## Slide 71
Distribution
of lighting for
main building:

## Slide 72
Distribution of socket for pool building:

## Slide 73
Distribution of lighting for pool building:

## Slide 74
Distribution of lighting for pool :

## Slide 75
Main Distributed board for Cricket breakers
MDB
DB1
DB3
DB2
DB4

## Slide 76
Artificial lighting using “Dialux” for pool building
Ceiling suspended lighting

## Slide 77
Artificial lighting using “Dialux” for pool building
Wall’s mounted lighting:

## Slide 78
Artificial lighting using “Dialux” for pool building
Under water lighting

## Slide 79
Mechanical Design

## Slide 80
General
Mechanical design of a building involves many aspects
Including :
1- water supply system
2- drainage system
3- HVAC system

## Slide 81
Water supply system
The total capacity of water tanks on
the roof = 30 m3
The capacity of underground water tank = 300 m3

## Slide 82
Water supply system

## Slide 83
Water supply system
We've divided the building into seven zones and we compute the sizes of the pipes for main vertical feeder, main horizontal feeder and branches for each zone.
Water demand (gpm) | Number of F.U | Type of supply control | Main feeder
35 | 65 | Flush Tank | Zone A
30 | 51 | Flush Tank | Zone B
11 | 16 | Flush Tank | Zone C
11 | 16 | Flush Tank | Zone D
40 | 79 | Flush Tank | Zone E
12 | 18 | Flush Tank | Zone F
20 | 30 | Flush Tank | Zone G

## Slide 84
Water supply system
Ground floor water supply

## Slide 85
Water supply system
First floor water supply

## Slide 86
Water supply system
Second floor water supply

## Slide 87
Water supply system
Calculations
Water demand (gpm) | Number of F.U | Type of supply control | Main feeder
35 | 65 | Flush Tank | Zone A
30 | 51 | Flush Tank | Zone B
11 | 16 | Flush Tank | Zone C
11 | 16 | Flush Tank | Zone D
40 | 79 | Flush Tank | Zone E
12 | 18 | Flush Tank | Zone F
20 | 30 | Flush Tank | Zone G
Pipes Diameter for Zone A
Main vertical feeder (steel) = 2.5 inch
Main horizontal feeder (PVC) = 2 inch
Branches (PVC) = 3\4 inch

## Slide 88
Water supply system

## Slide 89
Drainage system
the drainage system divided into two types:
Black water
Gray water

## Slide 90
Drainage system

## Slide 91
Drainage system

## Slide 92
Drainage system (pipes diameters)
The vertical stack pipe diameter = 4 inch.
horizontal pipes for Gray water = 2 inch @ ¼ inch per foot slope.
Horizontal pipes for Black water = 4 inch @ 1/8 inch per foot slope
The diameter of vent = 4 inch, and it is raising 4 foot above slab.
The main drain pipes (underground pipes) diameter = 6 inch @ 1% slope.

## Slide 93
HVAC system
The duct system that designed based on the loads was taken from ECOTECT ,for 465 cooling load.

## Slide 94
HVAC system
For solving the problem of height of building, (JET diffuser) was selected for this objective

## Slide 95
HVAC system
Ventilation system with dehumidifier

## Slide 96
Thanks for listening