## Slide 1
An-Najah National University
Faculty of Engineering and Information Technology
Building Engineering Department
Graduation Project II
“Integrated design of Al-Bukhari Center for Qur’an Memorization”
PREPERED BY:
Mohamad Ghassan Hamdan
Raif Daragmah
Hilal Jalal Atout
SUPERVISOR:
DR. Mutasim baba
Presented in partial fulfilment of the requirements. for Bachelor degree in (Building Engineering)
May 2022

## Slide 2: Introduction
Al-Bukhari Center for Qur’an memorization is a religious educational building consisting of 4 floors with a total area of 1281.1 m2.
It is under construction.

## Slide 3: Site analysis
The site is located in the city of Nablus on Al-Bukhari Street.
Land area 668 m2.

## Slide 4: Architectural Aspects
Basement Floor
Before
After

## Slide 5: Architectural Aspects
Ground Floor
Before
After

## Slide 6: Architectural Aspects
First Floor
Before
After

## Slide 7: Architectural Aspects
Second Floor
Before
After

## Slide 8: Architectural Aspects
Third Floor
Addition floor
After

## Slide 9: Architectural Aspects
Southwestern elevation
Before
After

## Slide 10: Architectural Aspects
Southeastern elevation
Before
After

## Slide 11: Architectural Aspects
Northwestern elevation
Before
After

## Slide 12: Architectural Aspects
Northeastern elevation
Before
After

## Slide 13: Environmental Aspects
Effect of Shading in winter at 8:00 am
Shading
in Winter at(21/12)
in Summer at(21/7)
Effect of Shading in summer at 8:00 am

## Slide 14: Environmental Aspects
Shading
in Winter at(21/12)
Effect of Shading in winter at 2:00 pm
Effect of Shading in summer at 2:00 pm
in Summer at(21/7)

## Slide 15: Environmental Aspects
Daylight analysis
Ground floor
Before
After

## Slide 16: Design Builder software analysis
Improvement & treatment

## Slide 17: Design Builder software analysis
PMV

## Slide 18: Design Builder software analysis
Cooling load

## Slide 19: Design Builder software analysis
Heating load

## Slide 20: Electrotechnical aspects
1. HVAC system
VRV unit

## Slide 21: Electrotechnical aspects
1. HVAC system
Wall mounted unit

## Slide 22: Electrotechnical aspects
1. HVAC system
Fan coil unit Diffusers

## Slide 23: Electrotechnical aspects
1. HVAC system
HVAC unit distribution in GF

## Slide 24: Electrotechnical aspects
2. Electrical aspects
Lighting distribution in library

## Slide 25: Electrotechnical aspects
2. Electrical aspects
Lighting distribution in classroom

## Slide 26: Electrotechnical aspects
2. Electrical aspects
Lighting distribution in SF

## Slide 27: Electrotechnical aspects
3. Acoustical aspects
Frequency | RT60
63 HZ | 0.66
125 HZ | 0.77
250 HZ | 0.98
500 HZ | 1.08
1K HZ | 0.91
2K HZ | 0.64
4K HZ | 0.46
8K HZ | 0.27
16K HZ | 0.28
SAverage | 0.672222222
Standard reverberation time (0.5-0.9)
SPL | BN | S/N | RT60 | AL | Artictulation
82.2 | 35 | 47.2 | 0.67 | 6 | 94
 |  | good |  | accept | 
Classroom plan
AL< 10% accept

## Slide 28: Electrotechnical aspects
3. Acoustical aspects
Standard STC 40
STC for barrier between Classroom and adjacent classroom
Composite TL for barrier between Classroom and corridor
Standard STC 38

## Slide 29: Electrotechnical aspects
3. Acoustical aspects
recommendation 87 dB
recommendation 80 dB

## Slide 30: Electrotechnical aspects
4. Fire fighting aspects
Alarm system
Manual ,Detector & Alarm in S.F

## Slide 31: Electrotechnical aspects
4. Fire fighting aspects
Protection system
Manual protection in ground floor
Automatic protection (sprinkler) in ground floor

## Slide 32: Electrotechnical aspects
5. Water supply aspects
Floor | WSFU's | Total WSFU'S
GF | 6 WC's*5 | 42
 | 6 Lavatory*2 | 
FF | 6 WC's*5 | 42
 | 6 lavatory*2 | 
SF | 5 WC's*5 | 39
 | 5 lavatory*2 | 
 | 1 Kitchen sink*4 | 
TH.F | 5 WC's*5 | 39
 | 5 lavatory*2 | 
 | 1 Kitchen sink*4 | 
Total |  | 162
Selected | GF | FF |  | 
Line | Vertical | Horizontal | Branch | Total losses
diameter | 4" | 2" | 11/2" | 
Press. Loss | 1.91 | 0.04 | 0.046764 | 1.996764
Selected | SF | TH |  | 
Line | Vertical | Horizontal | Branch | Total losses
diameter | 4" | 2" | 11/2" | 
Press. Loss | 1.91 | 0.03 | 0.03996 | 1.97996

## Slide 33: Electrotechnical aspects
5. Drainage system
Floors | Dfu's | 
Ground Floor | 6 WC's*4 | 41
 | 17 Lavatory*1 | 
First Floor | 6 WC's*4 | 43
 | 19 lavatory*1 | 
Second Floor | 5 WC's*4 | 27
 | 5 lavatory*1 | 
 | 1 Kitchen sink*2 | 
Third Floor | 5WC's*4 | 27
 | 5 lavatory*1 | 
 | 1 Kitchen sink*2 | 
Total |  | 138
Type of fixture | Diameter (inch) | Slope %
Vent | 4 | 0
Sewer | 4 | 1
Drainage | 4 | 1
Between manhole | 6 | 1

## Slide 34: Structural Analysis
Etabs models :
Structural model from ETABS

## Slide 35: Structural Analysis check’s
Analysis Checks | 
Check: | Result
Compatibility Check | Ok
Equilibrium check | Ok
Internal Force Check | 
Columns | Ok
Beams | Ok
Slab | Ok
Design Check | 
Check: | Result
Deflection | Ok
Beam | Ok
Shear Check | Ok
Tow way ribbed slab | Ok
Seismic Checks | 
Check: | Result
Period check. | Ok
Modal mass participation ratio | Ok
Base shear (scale factor) | Ok
Drift | Ok

## Slide 36: Structural Analysis
Footing plan :

## Slide 37: Structural Analysis
Footing detailing:
Single footing:

## Slide 38: Structural Analysis
Combined footing:

## Slide 39: Structural Analysis
wall footing:

## Slide 40: Structural Analysis
Mat foundation:

## Slide 41: Structural Analysis
Shear wall design :

## Slide 42: Structural Analysis
Column layout:

## Slide 43: Structural Analysis
Column detailing:

## Slide 44: Structural Analysis
beam layout:
Layout 1:

## Slide 45: Structural Analysis
beam layout:
Layout 2:

## Slide 46: Structural Analysis
Type of beam:

## Slide 47: Structural Analysis
Design of Beam :
frame 1:

## Slide 48: Structural Analysis
Slab layout & design:
Slab 1:

## Slide 49: Structural Analysis
Slab 2 layout & design :

## Slide 50: Structural Analysis
Tie beam layout :

## Slide 51: Structural Analysis
Tie beam design :

## Slide 52: Structural Analysis
Stairs Design:

## Slide 53: cost estimate Aspects
At the end we figure out and get to a conclusion that the total estimate cost of the building is around 2.86 million NIS.
Work | Total cost | Total price
Earth Work | 531150.2 | 637380.3
Structure work | 2146515 | 2575818
Mechanical Work | 148636.6 | 178363.9
Electrical Work | 33331 | 35677.2
Total | 2859633 | 3427239
 | Unit cost/M2 | Total Cost
NIS | 1972.161 | 2860000
JOD | 410.3359 | 600000
$ | 578.7536 | 840000

## Slide 54
Thank you