## Slide 1: Design of Foundation System for Multistory Building
Prepared by :
Hamza khwayre
Ruaa Khaled Mustafa
Under supervision of:
Dr. Isam Jardaneh

## Slide 2: Outline
Review of types of the Foundation
The Purpose of the Project
Site Investigation
Gravity Load Analysis
Seismic Load Analysis
Result of analysis

## Slide 3: Type of Foundation
1) shallow foundation
  Single footings
      strip footings
  raft foundations (mat foundation)
2) deep foundation
  piles

## Slide 4: The purpose of the project
The aim of this project is figure out the most appropriate foundation type for Residential Multistory Building suggested to be designed in this project
First case: under gravity load.
Second case: under seismic load and gravity load.

## Slide 5: Site Investigation Report
It Is a report which provide the geotechnical situation and parameters for a certain site.
Three borehole were dug out in the soil ,(13 m depth , and the others was 9 m depth) .

## Slide 6: Geological Section
allowable Bearing capacity = 220 kn/m^2 at depth 3 m
allowable Bearing capacity = 350kn/m^2 at depth 7 m
allowable Bearing capacity = 114 kn/m^2 at depth 1 m

## Slide 7: Gravity Load Analysis
Structural analysis including ETAB analysis for static and earthquake loads is presented
Area of the building =450 m^2
Number of story = 7
Height of story =4m
Depth of foundation we are going to build =4m
Type of soil is marl soil with bearing capacity q all =220 kn/m^2.
Live load on the slab =2kn/m^2
Super imposed dead load on the slab = 3.5 kn/m^2
The slap is two way ribbed with block

## Slide 8
IBC 2015 – CODE
Z factor equal to 0.2g
Site classification according to shear velocity The site class is site class (D)
Seismic design category (D)
Type of Analysis is Equivalent static Method (ELF)
Sway Special Moment Resisting Frame
Seismic Load Analysis

## Slide 9
Result of Analysis

## Slide 10: Dimension of the Footings (Gravity Load)
bearing capacity

## Slide 11: Foundation Plan

## Slide 12: Dimension of the Footing (Seismic and Gravity Load)

## Slide 13: Mat Foundation

## Slide 14: ρ = Strain 0.005 =0.9 ϕVc p Vu p=p ult – (Ḁ * q ult)
Checks for Design

## Slide 15: Cost of the Project

## Slide 16: Thank you