An-Najah National University

Faculty of Engineering & Information Technology

Department of Building Engineering

Second 2023/2024

Course: Gradation project I I

The Abstract

Integrated redesign of the Ministry of Education

Written by:

Sojood Tayseer  (ID: 11821724)

Noor Daraghmeh (ID:11926307)

yasmeen Rawajbeh (ID: 11718410)

Under the supervision of: Eng. Nermeen Al-Barq

“Presented in partial fulfilment of the requirements for Bachelor degree in Building

Engineering”

Abstract

Integrated building design has become one of the most important requirements in the current

World.In order to ensure that buildings are created to the greatest standards and that users are

comfortable, Any structure, area, or part of a structure that is primarily or exclusively utilized

for office, administrative, or other forms of work is referred to as an office building. Based on

the principles of integrated design of the Ministry of Education building, which was designed,

constructed and the building is in operation purpose of the project to reevaluate the current

building design and performance, which is It is located in Al-Ma'ajin in Nablus Governorate

on a plot of land with a total area of 1790 square meters, which is divided into 5 floors, In

addition to a three-story basement with an area of 1361.66 square meters.

As the first stage of our project, data was gathered, and this data was then used to assess the

goals of the architectural design. We evaluated the building's vital amenities, such as

emergency staircases, before making any changes. To make sure they adhere to standards,

check elevators, parking lots, and escape routes.

The building has been assessed from an environmental point of view depending on the Revit

program and the Design Builder program. The cooling load (271Kw) and the heating load (171

Kw) were calculated, and comparing the results with those after the adjustments. The energy

consumption of the building has been estimated (70 Kw/m2).

And then the best structural system that supports the building and meets the necessary

economic criteria is selected. Next, computer programs are used to create a safe design. In this

project Investigation has been carried out by using computer programs like AutoCAD, Revit,

Etabs, Design Builder, and Lumion .

Part two of the study included the following research: further information about the passive

system's environmental design that is suggested to enhance system performance, For the

design, more thorough structural analysis was done in accordance with certain guidelines. By

integrating these intricate structural factors into the design process, the project sought to

produce a safe, affordable, and environmentally friendly solution that complies with the

required design criteria.

The project included electromechanical issues in addition to architectural and structural ones.

In order to secure these aspects, different engineering systems had to be designed and

integrated. ideal functionality and performance Through the consideration of these

electromechanical elements, the project sought to guarantee the smooth amalgamation of

diverse technical systems, culminating in a completely operational and eco-friendly structure

that fulfills the intended performance standards.

A thorough cost estimate and quantity surveying procedure were carried out as part of the

project. This required a thorough examination of the supplies, manpower, and other materials

needed for the building project, as well as an estimate of the related expenses Throughout the

project lifespan, efficient budgeting, cost control, and well-informed decision-making were

made possible by the cost estimate and quantity surveying processes, which offered insightful

information about the expected project costs.

Our project's ultimate output will be a comprehensive redesign of all engineering systems in

compliance with these kinds of building guidelines. Our project's ultimate output will be a

comprehensive redesign of all engineering systems in compliance with these kinds of building

guidelines.

Key word: environmental, office building, energy efficiency, energy consumption,

Integrated building design.