## Slide 1
An-Najah National University
Structural Analysis and Design of
Childhood Center
Prepared by : Ahmed Younes Dafer
Graduation Project II

## Slide 3
Architectural Design

## Slide 4
Site Location

## Slide 5
Site Plan

## Slide 6
Nursery
Kindergarten
Design Consideration

## Slide 7
Bubbles Diagram

## Slide 8
Building Parts

## Slide 9
Main Building

## Slide 10
Main Building

## Slide 11
Administration Building

## Slide 12
Theater

## Slide 13
Theater Design

## Slide 14
Stair Case

## Slide 15
Stair-A Section

## Slide 16
Elevations
North Elevation
West Elevation

## Slide 17
Elevations
South Elevation
East Elevation

## Slide 18
Site Analysis

## Slide 19
Structural Design

## Slide 20
Design Codes
American Concrete Institute (ACI-318-14) Code 2014
American Society of Civil Engineering (ASCE)

## Slide 21
Soil and materials properties
- Concrete strength for construction elements is B300 (f’c =24MPa).
Modulus of elasticity for concrete equals 4700* √24=23.03 GPa.
Unit weight for reinforced concrete is 2.5 ton/m3 = 25 kN/m3. - Bearing capacity for soil is 250 kN/m2.
- Modulus of elasticity for steel equals 200 GPa.
Steel yield strength: For steel reinforcement, is 4200 kg/cm2 = 420 MPa.

## Slide 22
Loads and load combination
Super impose load = 4.3kN/m2.
According to ACI-318/9.2.1 the following load combinations was applied:
-1.2 × Dead Load + 1.6 × Live Load.
-1.4 × Dead Load.

## Slide 23
ETABS-Model

## Slide 24
Model Checks - Equilibrium
Load type | Manual | ETABS | Difference%
Dead load | 1975.189 | 1906.5165 | 3.6 % < 5% ok
Live load | 1166.75 | 1166.615 | 0.01 % < 5% ok
SID | 1702.1543 | 1701.9814 | 0.01 % < 5% ok
Manual calculations:
ETABS results:

## Slide 25
Model Checks – Internal stresses

## Slide 26
Total Value from ETABS = 163kN-m.
Manual value = 186kN-m.
the difference between the two values = (186-162.55)*100%/186= 12%.
Model Checks – Internal stresses

## Slide 27
Model Checks – Long term deflection
for beam
From ACI-Code Long Term Deflection for Beam with block walls = L/240,  (10.8/240)*1000 = 45mm
40.1 < 45. ok

## Slide 28
Model Checks – Long term deflection
for slab
For the critical span the deflection = 41.9 - (41.1+40.9)/2 = 0.9mm, the acceptable deflection = (3.9/240)*1000 = 16mm, 0.9 < 16, ok.

## Slide 29
Slab design
One way ribbed slab
Two way ribbed slab

## Slide 30
Beam design

## Slide 31
Beam design

## Slide 32
Columns Design

## Slide 33
Shear Wall Design

## Slide 34
Stairs Design

## Slide 35
Footings and Tie beams Design

## Slide 36
Quantities

## Slide 37
Total block work | Units | Area | No. | 
Ribbed (24cm) |  |  | 8502 | Blocks
20cm |  | 1160 | 14500 | Blocks
10cm |  | 1018 | 12720 | blocks
Total block work | Units | Area | No. | 
Ribbed (24cm) |  |  | 8502 | Blocks
20cm |  | 1160 | 14500 | Blocks
10cm |  | 1018 | 12720 | blocks
Total concrete work | Units | Quantity
Footing |  | 225.1
Rc 10cm concrete slab |  | 47.258
Tie beam |  | 57.068
Neck columns |  | 12.3
columns |  | 76
Beams |  | 145.63
Slabs |  | 348.83
Total |  | 912.186
Total concrete work | Units | Quantity
Footing |  | 225.1
Rc 10cm concrete slab |  | 47.258
Tie beam |  | 57.068
Neck columns |  | 12.3
columns |  | 76
Beams |  | 145.63
Slabs |  | 348.83
Total |  | 912.186
Total steel work | Units | Quantity
Footing | Kg | 16728.7
Tie beam | Kg | 19244.93
Neck columns | Kg | 4334.8
columns | Kg | 9779.8
Beams | Kg | 18607.169
Slabs | Kg | 14129.37
Total | Kg | 78241.328