## Slide 1
An-najah National University
Friendly Student Hostel
Presented by:
Ahmad Amudi
Hiba Abbas
Ruba Tumeh
Samah Tayy Abdelqader
Supervisor:
Eng. Moayad Salhab
18.5.2016

## Slide 2: Outline
Introduction
Site Analysis
Architectural Design
Environmental Design
Structural Design
Electrical Design
Mechanical Design
Safety

## Slide 3: Introduction

## Slide 4: Location
The site of the project is located in Nablus City.
The land of the project:

## Slide 5: Architectural Design
Site Plan

## Slide 6: Architectural Design

## Slide 7: Architectural Design
Ground Floor

## Slide 8: Architectural Design
First Floor

## Slide 9: Architectural Design
Second Floor

## Slide 10: Architectural Design
Functions Areas
Single Studio
Double Studio

## Slide 11: Architectural Design
Functions Areas
Function | Area
Public areas | 
Entrance and waiting area | 190
Elevator | 4.8
Staircase | 13.8
Corridor | 52.5
Mechanical Room | 14.5
Function | 
Public areas | 
Entrance and waiting area | 190
Elevator | 4.8
Staircase | 13.8
Corridor | 52.5
Mechanical Room | 14.5

## Slide 12: Architectural Design
Functions Areas
Function | Area ()
Indoor Functions | 
Reading Area | 71.5
Conference room | 114.5
Studio for disable people | 32.5
Single Studio | 17
Double studio (southern) | 34
Double Studio ( northern ) | 45
sport hall | 122.5
Clinic | 27.5
Laundry | 66.5
Cafeteria | 100
Function | 
Indoor Functions | 
Reading Area | 71.5
Conference room | 114.5
Studio for disable people | 32.5
Single Studio | 17
Double studio (southern) | 34
Double Studio ( northern ) | 45
sport hall | 122.5
Clinic | 27.5
Laundry | 66.5
Cafeteria | 100

## Slide 13: Architectural Design

## Slide 14: Architectural Design

## Slide 15: Architectural design
Elevations
North Elevation

## Slide 16: Architectural design
Elevations
South Elevation

## Slide 17: Architectural design
Elevations
East Elevation

## Slide 18: Architectural design
Elevations
West Elevation

## Slide 19: Architectural design
Ground Floor

## Slide 20: Architectural design
Sections

## Slide 21: Architectural design
Sections
Section 2-2

## Slide 22
Environmental Design:

## Slide 23
Building the Project in Ecotect

## Slide 24
Shading Devices

## Slide 25
Aspects taken in consideration in Environmental Design
Architectural Design
Surrounding Buildings

## Slide 26
Studios

## Slide 27
Reading area

## Slide 28
Daylight Factor (DF%)

## Slide 29
DF%
Recommended DF (%) | Achieved DF (%) | Recommended Illuminance (Lux) | Achieved Illuminance (Lux)
2.9-5.8 | 3.76 | 250-750 | 320
Double Studio #2 (South)
Recommended DF (%) | Achieved DF (%) | Recommended Illuminance (Lux) | Achieved Illuminance (Lux)
2.9-5.8 | 3.33 | 250-750 | 283
Single Studio #1

## Slide 30
Thermal Analysis

## Slide 31
Properties of External Wall Layers

## Slide 32
Partition layers and properties
Roof layers ) and properties

## Slide 33
Floor-Ceiling layers
and properties
Glass layers and properties

## Slide 34
Monthly heating and cooling loads:
 |  | Mixed Mode Ventilation System |  | Full Air Conditioning System | 
Single Studio | Total per m² (Wh) | 16477 |  | 40017 | 
 | Floor Area (m2) | 19.243 |  |  | 
Double Studio | Total per m² (Wh) | 19870 |  | 31753 | 
 | Floor Area (m2) | 33.371 |  |  | 
Reading Area | Total per m² (Wh) | 35106 | 97858 |  | 
 | Floor Area (m2) | 69.644 |  |  | 
Mixed mode system Vs. full air conditioning system:

## Slide 35
Acoustical Analysis

## Slide 36
RT60 (double studio)

## Slide 37
RT60 (Reading Area)

## Slide 38
STC and IIC:
STC for Partition STC for walls | 
STC =57 dB | STC =56 dB
IIC for Ceiling IIC=70dB | 

## Slide 39: Structural Design

## Slide 40: Structural Design
Block 1 :

## Slide 41: Structural Design
Block 2 :

## Slide 42: Structural Design
Seismic Data:
Zone : 2B | 
Cv | 0.2
Ca | 0.2
Importance factor (I) | 1
Reduction factor R | 5.5
Ground acceleration | 9.81
Scale Factor | 1783

## Slide 43: Structural Design
The two blocks are valid for :
1- Compatibility check.
2- Equilibrium check.
3- Stress strain relationship (local check).
4- Deflection check.

## Slide 44: Structural Design

## Slide 45: Structural Design
Dynamic design for block 1
Period Check :
Tstandard = 0.781 sec
From ETABs:
TETABs =0.592 sec

## Slide 46: Structural Design
Drift Check

## Slide 47: Structural Design
Slab:
Thickness of the slab is 35 cm
Beams:
1. Drop
2. Hidden

## Slide 48: Structural Design
Column Reinforcement:

## Slide 49: Structural Design
Isolated
Combined
Mat
Footing Designed Result:

## Slide 50: Structural Design
Water tank:

## Slide 51: Structural Design
Shear Wall:

## Slide 52: Electrical Design
1. Artificial Lighting
Dialux Evo was used to obtain the best lighting design
Factors taken into consideration during the design:
Standard required illuminance
Glare
2. Circuit Breakers

## Slide 53: Electrical Design
Artificial Lighting Design Results
(Single Studios)
Disable People Studio | 
Height of Room | 
3.5m | 
Reflection factors | 
Ceiling | 84.4%
Walls | 57.3%
Floor | 82.4%
Maintenance Factor | 
0.8 | 

## Slide 54: Electrical Design
Artificial Lighting Design Results
(Single Studio)
Targeted Illumination (Lux) | Minimum Illumination (Lux) | Maximum Illumination (Lux) | Mean Illumination (Lux) | Uniformity
500 | 324 | 920 | 501 | 0.65
Minimum UGR | Maximum UGR | Threshold Value
<10 | 16.9 | 19.0
Work Plan Results
UGR

## Slide 55: Electrical Design
Artificial Lighting Design Results
Luminaires Used in Single Studios
Lamp Type | Luminaire Luminous Flux (Lm) | Power (Watt) | Color Temperature (Kelvin) | Color Rendering index (CRI)
LED5 | 370 | 8.0 | 3,000 | 100
TCS 2TL | 6490 | 110.0 | 3,000 | 100
Lamp Type | Luminaire Luminous Flux (Lm) | Power (Watt) | Color Temperature (Kelvin) | Color Rendering index (CRI)
LED5 | 370 | 8.0 | 3,000 | 100
 | 6490 | 110.0 | 3,000 | 100

## Slide 56: Electrical Design
Artificial Lighting Design Results
Single Studio Views

## Slide 57: Electrical Design
Circuit Breakers
Rated current for circuit breaker for lighting: 10 Amp
Rated current for circuit breaker for sockets: 16 Amp
Lighting branches: for 50 area we can use 1 branch
Sockets branches: for 4 sockets we use 1 branch
Special Loads: for each special load we use 1 branch

## Slide 58: Electrical Design
Circuit Breakers for Typical floor
Circuit Breaker | Diameter
Typical Floor | 10
Circuit Breaker | 
Typical Floor | 10
Item | Diameter
Lighting | 1.5
Sockets | 2.5
Item | 
Lighting | 1.5
Sockets | 2.5
Function | No. L.C.B | No. S.C.B | No. S.L.C.B
Single Studios | 4 | 9 | 0
Double studios (North) | 2 | 6 | 0
Double Studios (South) | 3 | 10 | 0
Common Areas | 4 | 2 | 0

## Slide 59: Mechanical Design
Water Supply System
Drainage System
HVAC System

## Slide 60: Water Supply System
3 Shafts were used in water supply system.
First Floor | Vertical pipe diameter(inches) Main FW |  | Horizontal pipe diameter(inches) Main FW |  | Branch pipe diameter(inches) Main FW |  | Meter diameter(inches) Main FW | 
Shaft 1 | 3 | 2 ½ | 1 1/4 | 1 | ¾ | ¾ | 1 1/4 | -
Shaft 2 | 2 ½ | 2 | 1 | ¾ | ¾ | ¾ | 1 | -
Shaft 3 | 3 | 2 ½ | 1 | ¾ | ¾ | ¾ | 1 | -

## Slide 61: Drainage System
Ground Floor

## Slide 62: HVAC System
VRF System
VRF is Variable Refrigerant Flow system, it was adopted in our design
Several Internal Units can be connected to one external unit

## Slide 63: HVAC System
VRF System
Max Heating: 1174 W at 01:00 on 18th January
Max Cooling: 1316 W at 08:00 on 22nd July
Single Studio

## Slide 64: HVAC System
VRF System
Wall Mounted-GEN4 indoor unit was selected to be used in studios.
Selected Indoor Unit | 
Type | Wall Mounted-GEN4
Cooling Capacity | 5500 BTU/hr. (1.6 KW)
Heating Capacity | 6100 BTU/hr. (1.8 KW)
Power Supply | 208-230V/ 60Hz/ 1ᶲ
Model Number | ARNUO53SBL4

## Slide 65: HVAC System
VRF System
Multi VIV Heat Recovery 208-230V outdoor unit was selected to be used.
Selected Outdoor Unit | 
Type | Multi VIV Heat Recovery 208-230V
Frame Series | Triple Frame
Cooling Capacity | 408000 BTU/hr. (119.5KW)
Heating Capacity | 459000 BTU/hr. (134.5KW)
Power Supply | 208-230V/ 60Hz/ 3ᶲ
Model Number | ARUB408BTE4

## Slide 66: Safety Design

## Slide 67: Safety Design
Fire Fighting System
Fire extinguishers
Sprinklers
Detection& Alarms

## Slide 68
Ask me No Questions, Tell You No Lies!