## Slide 1: An-Najah National University Faculty of Engineering Building Engineering Department
Graduation Project II
Analysis & Redesigning Of The Faculty Of Fine Art
Prepared By: Karam Bassalat
Umaier Najjar
Omar Sabbah Project supervisor: Eng. Abd El-Hakeem Al-Jawhari

## Slide 2: CONTENTS:
Introduction
Site
Architectural Design
Structural Design
Environmental Design
Electrical Design
Mechanical Design
Safety Design
Estimated Cost

## Slide 3: INTRODUCTION
The main concept of our project was to redesign the building from different aspects such as architectural, structural and environmental.

## Slide 4: Site
N

## Slide 5: Architectural Design
Existing building:
5 floors, 1 basement
New building:
6 floors, 2 basements

## Slide 6: Architectural Design
Basement new design
Existing basement

## Slide 7: Architectural Design
Ground floor new design
Existing Ground floor

## Slide 8: Architectural Design
First floor new design
Existing first floor

## Slide 9: Architectural Design
Second floor new design
Existing second floor

## Slide 10: Architectural Design
Third floor new design
Existing third floor

## Slide 11: Architectural Design
South elevation in new design

## Slide 12: Architectural Design
South elevation in existing building

## Slide 13: Architectural Design
North elevation in new design

## Slide 14: Architectural Design
North elevation in existing building

## Slide 15: Architectural Design
West elevation in new design

## Slide 16: Architectural Design
West elevation in existing building

## Slide 17: Architectural Design
East elevation in new design

## Slide 18: Architectural Design
East elevation in existing building

## Slide 19: Structural Design

## Slide 20: Structural Design
Codes:
ACI 318-11 (American Concrete Institute): building code requirements of structural concrete and commentary.
ASCE-2010 (American Society of Civil Engineers).
UBC 97 (Uniform Building Code).
Material Property:
Compressive strength of Concrete “f′c”.
    For columns, beams and shear walls f′c = 32 Mpa
    For all other elements f′c = 24 MPa
Yielding strength of steel fy = 420 MPa.

## Slide 21: Structural Design
Model Checks:
Compatibility
Equilibrium
Drift

## Slide 22: Structural Design
Columns center lines

## Slide 23: Structural Design
Footing Reinforcement Details:
Single footing

## Slide 24: Structural Design
Footing Reinforcement Details:
combined footing

## Slide 25: Structural Design
Column Reinforcement Details:
column section

## Slide 26: Structural Design
Beam Reinforcement Details:

## Slide 27: Structural Design
Slab details:

## Slide 28: Structural Design
Slab details:
Stair plan
Stair reinforcement details

## Slide 29: Environmental Design.
Design Builder program ( 3D Model ):

## Slide 30: Environmental Design.
External wall Layer :
U-value = 0.445 W/ m^2.k
Roof Layer :
U-value = 0.314 W/ m^2.k

## Slide 31: Environmental Design.
Shading in winter (21St/January) :
At 8:00 AM. At 12:00 PM.
Shading:

## Slide 32: Environmental Design.
Shading:
Shading in Summer(21St/July) :
At 8:00 AM. At 12:00 PM.

## Slide 33: Environmental Design.
Natural daylight analysis.
Existing building G.F
New design building G.F

## Slide 34: Environmental Design.
Natural daylight analysis.
Existing building F.F
New design building F.F

## Slide 35: Environmental Design.
Simulation results were :
Compare building | Heating design KW | Cooling design KW | Intensity KWh\m^2
Existing | 293.39 | 351.52 | 205.01
New design | 220.51 | 500.5 | 127.94

## Slide 36: Environmental Design.
Comfort :
New design Building :
Existing Building :

## Slide 37: Solar Cells Design:
We used PVsyts software in order to have appropriate solar cells design.
Use Hanwha. With capacity has 330 WP
The module for design Pv cell is (1.68×1) m
174 Modules were used.
Size of system = 57.5 Kwp.
Initial cost of the system = 69240 $
Operation Cost = 1038.6 $/year.
Electricity Production = 106000 KWh/yr.
Annual Saving = 106000* 0.17 = 18020 $/yr.
Payback Period = 70278.6/18020 = 4. 67 years

## Slide 38: Solar Cells Design:
Modules Distribution:

## Slide 39: Electrical
DESIGN

## Slide 40
    Sockets Arrangement

## Slide 41
    Lighting arrangement

## Slide 42
    Artificial Lighting
    Computer lab:
    New Design Existing computer lab
surface | Result | Min | Max | Threshold value
Computer user plane | UGR | 11.5 | 25.4 | 19

## Slide 43
Artificial Lighting
Computer lab:
New Design Existing computer lab

## Slide 44
Artificial Lighting
Exhibition:
New Design Existing computer lap.

## Slide 45
Artificial Lighting
Chorus Hall:

## Slide 46
Total power in G.F = 19088.09 Watt
Space name | Lamps names | Number of luminaries | Total power (W) | Total Load (Amp)
All classroom | Flores(RC125B W60L60 1xflor34S/680 NOC) | 53 | 6172 | 10
Computer lap | Flores +Led (RC148B W60L60 1xLED34S/840 NOC) | 32 | 3588 | 10
Corridors | led ( Rc123 | 25 | 2468.8 | 10
Exhibit | led+ Flore | 30 | 2489 | 10
Chorus Hall | led Flores | 35 | 2930.7 | 12
Artificial Lighting
Total power in building = 97440.45 KW

## Slide 47
Mechanical DESIGN

## Slide 48
5 water tanks is used, each one has a volume of 9 m2 as shown:
  Water Supply System:
Mechanical DESIGN
water supply tank for the faculty
The available water supply tank on the existing faculty as mentioned earlier is 40m3 which is less than the required volume (45 m3).
Water supply tank volume = 45*1000 = 45000 L/d, which is equivalent to 45m3.

## Slide 49
Mechanical DESIGN
Water Supply System
New Design
Existing building

## Slide 50
Mechanical DESIGN
Water Supply System

## Slide 51
Mechanical DESIGN
Drainage system:
Grey water
The required pipe diameter and slope = 2’’and 2% slope

## Slide 52
Mechanical DESIGN
Drainage system:
Grey water

## Slide 53
Mechanical DESIGN
Drainage system:
Black water

## Slide 54: Mechanical Design:
HVAC Design:
Multi split unit system ( Casttet ) was used for all buildings rooms
Main component of Multi split unit system is:
1- Outdoor unit.
2- Controller.
3- Indoor units.
4- Pipes.
The system was selected from a DAIKIN’s company

## Slide 55: Mechanical Design:
HVAC Distribution:

## Slide 56: Mechanical Design:

## Slide 57: Safety Design:
Automatic sprinkler system.
ExtinguisherFM200
Hose station.
Warning signs.
Smoke detectors

## Slide 58: Distribution of fire suppression system in ground floor:

## Slide 59: Distribution of fire suppression system in ground floor:

## Slide 60: Distribution of Escape Route system in ground floor:

## Slide 61: Reflected Celling

## Slide 62: Reflected Celling

## Slide 63: Total cost
The total cost of the building = 10,052,190.3 LIS
The Unit cost = 916 LIS/m^2