7 Equilibrium

7.1 Check equilibrium of Block A:

Results from sap:

Fig (7-1) load from SAP

Live load=647.298 ton

Dead load=4346.485 ton

Ultimate load= 6251.457 ton

Hand calculation:

There is in this section different element as beam, column, shear wall and slabs.

Weight of beams:

γ= 2.4 ton/m3

1) Edge beam:

h=1.7 m, b=0.6 m

L=96.02 m

W=90.02*2.4*1.7*0.6=235.057 ton.

2) L-section waffle:

h=0.7 m, bw=0.6 m, be=1.1, hf=0.2

L=74.05 m

W=74.05*2.4*(1.1*0.2+0.5*0.6) =92.414 ton.

3) Main beam A:

h=1.7 m, bw=0.7 m, be=1.5, hf=0.232

L=118 m

W=118*2.4*(1.5*0.232+1.468*0.7) =389.57 ton.

4) Secondary beam:

h=0.6 m, b=0.4 m

L=37.04 m

W=37.04*2.4*0.6*0.4 =21.335 ton.

5) Seda beam:

h=0.4 m, b=0.7 m

L=48.37 m

W=48.37*2.4*0.4 *0.7 =32.505 ton.

6) T-section waffle:

h=1 m, bw=0.6 m, be=1.6, hf=0.24

L=214.13 m

W=214.13 *2.4*(1.6*0.24+0.76*0.6) =431.6861 ton.

7) Tie- beam:

h=0.6 m, b=0.4 m

L=146.02 m

W=146.02*2.4*0.4 *0.6 =84.1075 ton.

Weight of all beams = 1286.67 ton

Weight of columns:

γ=2.4 ton/m3

1) Circular column:

D=1 m

L=66m

W= (π/4*12)*2.4*66=124.407 ton.

2) Column A:

h=0.6m, b=0.6 m

L=264m

W= 0.6*0.6*264*2.4=228.096 ton.

Weight of all columns = 352.503 ton

Weight of slabs and shear walls:

1) A1-way rib:

h=0.232, γ=2.35 ton/m3

Area=715.767 m2

W=715.767*0.232*2.34=390.2364 ton.

2) A2-way waffle:

h=0.24, γ=1.7 ton/m3

Area=731.439 m2

W=731.439*0.24*1.7=298.427 ton.

3) A0-two way solid:

h=0.1, γ=2.4 ton/m3

Area=427.44 m2

W=427.44*0.1*2.4=102.586 ton.

4) Floor ball:

h=0.25, γ=2.4 ton/m3

Area=304 m2

W=304*0.25*2.4=182.4 ton.

4) Masonry wall:

h=0.263, γ=2.4 ton/m3

Area=1101.285 m2

W=1101.285*0.263*2.4=660.771 ton.

5) Seda one way solid:

h=0.3, γ=2.4 ton/m3

Area=151.329 m2

W=151.329*0.3*2.4=108.957 ton.

7) Shear wall:

h=0.3, γ=2.4 ton/m3

Area=398.52 m2

W=398.52*0.3*2.4=286.93 ton.

8) Wall ball:

h=0.25, γ=2.4 ton/m3

Area=203.255 m2

W=203.55*0.25*2.4=122.13 ton.

Weight of all (slabs& walls) = 2152.4415 ton

∑ Area of live load=1598.6 m2

Live load= 1598.06*0.4=639.44 ton

% of error in live load = (647.3-639.44)/647.3=1.2%

∑ Area of super imposed load=1598.6 m2

Super imposed load= A1-way rib*0.324+ (A2-way waffle+ Seda one way solid)*0.3

Super imposed load=715.8*0.324+ (731.44+151.33)*0.3

=496.75 ton

∑dead=496.75+1286.675+352.503+2152.4415=4288.37

% of error in dead load =(4288.37-4346.5)/4288.37

=1.3%

7.2 Check equilibrium of Block B:

Results from sap:

Live load=877.45 ton

Dead load=4478.63 ton

Ultimate load= 6778.28 ton

Hand calculation:

There is in this section different element as beam, column, shear wall and slabs.

Weight of beams:

γ= 2.4 ton/m3

1) B01W:

h=0.75 m, b=0.4 m

L=85.11 m

W=85.11*2.4*0.4*0.75=61.3 ton.

2) B02W:

h=0.6 m, b=0.35 m

L=295.5m

W=295.5*2.4*0.35*0.6=149 ton.

3) B1300.sec:

h=1 m, b=0.35 m

L=44.43m

W=44.43*2.4*0.35*0.6=37.3 ton.

5) B1:

h=0.75 m, b=0.35 m

L=209.2m

W=44.43*2.4*0.35*0.7=123 ton.

6) B2/1/50:

h=0. 5 m, b=0.35 m

L=11.15 m

W=11.15*2.4*0.35*0.5=4.68 ton.

7) B2:

h=0. 8 m, b=0.45 m

L=53.2 m

W=53*2.4*0.45*0.8=45.8 ton.

8) B3:

h=0. 6 m, b=0.35 m

L=118.9 m

W=118.9*2.4*0.35*0.6=60 ton.

9) B4:

h=1m, b=0.6 m

L=115.7 m

W=115.7*2.4*1*0.6=166.6 ton.

10) B3/2/50:

h=0.5m, b=0.35m

L=11.38m

W=11.38*2.4*0.5*0.35 =4.78 ton.

11) B-1300-sec:

h=1m, b=0.35m

L=41.2m

W=41.2*2.4*1*0.35 =34.6 ton.

12) B-400-900:

h=0.75m, b=0.35m

L=75.8 m.

W=75.8*2.4*0.75*0.35 =38.2 ton.

13) EB4:

h=1.4m, b=0.6m

L=47.38 m.

W=47.38*2.4*0.6*1.4 =95.5 ton.

14) R.B.1300:

h=0.7m, b=0.35m

L=18.849 m.

W=18.849*2.4*0.7*0.35 =11.1 ton.

15) Sec-Beam:

h=0.6m, b=0.35m

L=110.5 m.

W=110.5*2.4*0.6*0.35 =11.155.7 ton.

Weight of columns:

γ=2.4 ton/m3

1) Circular-C-stairs:

D=0.35 m

L=190m

W= (π/4*0.352)*2.4*190=43.8 ton.

2) Cir-C-1:

D=0.4 m

L=8m

W= (π/4*0.42)*2.4*8=2.41 ton.

3) Column -B:

h=0.6m, b=0.3m

L=328.5 m

W= 0.3*0.6*2.4*328.5=141.9 ton.

Weight of slabs and shear walls:

1) S3 @ elevation 16 m:

h=0.2, γ=2.17 ton/m3

Area=28.2473m2

W=28.2473*0.2*2.17=12.27 ton.

2) S3 &S4 @ elevation 13 m:

S3:

h=0.2, γ=2.17 ton/m3

Area=28.2473m2

W=28.2473*0.2*2.17=12.27 ton.

S4:

h=0.2, γ=1.9 ton/m3

Area=267.871m2

W=267.871*0.2*2.17=105.6 ton.

3) S3 @ elevation 12 m:

h=0.2, γ=2.17 ton/m3

Area=33.4376m2

W=33.4376*0.2*2.17=12.7 ton.

4) S3 @ elevation 9 m:

h=0.2, γ=2.17 ton/m3

Area=241.2m2

W=241.2*0.2*2.17=104.7 ton.

5) S2-1way @ elevation 8.5 m:

h=0.2, γ=1.9 ton/m3

Area=171.971m2

W=171.97*0.2*1.9=65.35ton.

6) S1 @ elevation 8 m:

h=0.2, γ=2.17 ton/m3

Area=450.17m2

W=450.17*0.2*2.17=195.37ton.

7) S0-1way & S0-2way @ elevation 4 m:

S0-2way:

h=0.2, γ=2.17 ton/m3

Area=755.88m2

W=755.88*0.2*2.17=328.05ton.

S0-1way:

h=0.2, γ=1.9 ton/m3

Area=204.76m2

W=204.76*0.2*1.9=77.8ton.

8) Masonry wall:

h=0.263, γ=2.4 ton/m3

Area=1991.5m2

W=1991.5*0.263*2.4=1257.17ton.

9) Shear wall:

h=0.3, γ=2.4 ton/m3

Area=525.75 m2

W=525.75*0.3*2.4=1257.17ton.

∑ Area of live load=2177.8 m2

Live load= 2177.8*0.4=871.1 ton

% of error in live load = (871.1-877.45)/871.1

=0.7%

∑ Area of super imposed load=2177.8 m2

Super imposed load=2177.8*0.3=653.34

∑dead=4453.13

% of error in dead load = (4553.13-4500.6)/4553.13

=1.1%