## Slide 1
An-Najah National University
Faculty of Engineering
Building Engineering Department
Design a Restaurant
Graduation project
Prepared By:
Abeer Abu Rwees
Layal Tayem
Rawan Droubi
Supervisor Name: Dr. Feda'a Yaseen

## Slide 2
Project contents:
Architectural Design
Structural Design
Electrical Design
Mechanical Design
Environmental Design
Quantity Surveying.

## Slide 3
A strategic location of the restaurant was selected it lies on the new main road that connect An-Najah university from the west gate to Nablus city ,it lies between An-Najah university and AL-Junaid Prison
Architectural Design

## Slide 14
Structural Design
Design Data:
 Compressive strength of concrete (fc) = 28 MPa
 Yielding strength of steel (fy) = 420 MPa.
 Units : (meter-kilogram)
 E=280449639
 Story height= 3.5m
 Live load = 5 kN/m² (According to ASCE Code Table 4.1)
 Dead load ( slab weight) = 5 kN/m² (by calculation )
 Super imposed dead load =4 kN/m² (by calculation )
 Masonry external walls are used with wall thickness of 300 mm and unit weight of 22 kN/m³.

## Slide 21
Compatibility check:

## Slide 22
Equilibrium check:
Dead load:
From calculations=(1342+23+499+2940)= 4804 KN
From SAP= 5025 KN
% error= 4.6 %
4.6 % < 5% ………… Acceptable
Live load:
From calculations=(402*5)= 2010 KN
From SAP= 1963 KN
% error= 2.4 %
2.4 % < 5% ………… Acceptable
Super load:
From calculations=(1600+1806+1766)= 5970 KN
From SAP= 5707 KN
% error= 4%
4 % < 5% ………… Acceptable

## Slide 23
 Buildings in "Nablus" city, (Zone 2B→ Z= 0.20)
 Number of stories = 2 stories, Soil type is SB.
 Concrete compressive strength, fc= 280 kg/cmˆ2
 Yield strength of steel, fy = 4200 kg/c mˆ2
 Height of each story is 3.5 m.
Shear (V) for the Building:
Total weight = 4804 KN.
CV = 0.20 I = 1 R = 5.5
T = Ct * (hn) ^ (3/4) =0.0488 (7) ^ (3/4) = 0.21 s
T sap = 0.26 s
V = {(Cv)*(I)/(R*T)} * W
V calculated = {(0.2)*(1)/ (5.5*0.21)} * 4804
V calculated = 0.173*4804=831 KN
Earthquake check:

## Slide 24
Electrical System:

## Slide 25
E=250 lux

## Slide 27
Kitchen Artificial:
E=350 lux

## Slide 29
Administration room Artificial:
E=250 lux

## Slide 30
Administration room Artificial:

## Slide 31
Administration room Artificial:

## Slide 32
Cleaning Room:
E=200 lux

## Slide 33
Cleaning room :

## Slide 34
Bathroom
E=100 lux

## Slide 35
Bath room Artificial:

## Slide 36
First Floor Artificial:
E=250 lux

## Slide 37
First Floor Artificial:

## Slide 38
First Floor Artificial:

## Slide 39
Circuit Breaker:
Total WATT of Lighting = 2200 Watt
# of branches of lighting:
(2200 × 1.10) / (220 ×10) = 2 C.B for Lighting
For (2Ampair) (4 to 5) outlet can be connected to one circuit breaker
We have (40) Outlet 40/5 = 8 C.B
Main Circuit Breaker:
I (M.C.B) = {{(power lighting × D.f) + (outlet × D.f)}/220} ×S.f
I (M.C.B) = {{(220 × 0.85) + (40 × 0.25)}/220} ×1.12 = 32 Ampair
We need main C.B with (3 phase) 35) A)
Cables of lighting diameter = 1.5 mm ²
Cables of outlets = 2.5 mm ²

## Slide 43
ميكانيك

## Slide 44
ميكانيك

## Slide 45
ميكانيك

## Slide 46
ميكانيك

## Slide 47
ميكانيك

## Slide 48
ميكانيك

## Slide 49
Environmental Design
Acoustics
1-interior sources: the kitchen, customers, HVAK system.
2-exterior source: traffic and adjacent occupancies.
So in this project some solutions were performed to minimize the noise:
 To minimize the exterior noise:
A wall of trees and shrubs were planted on the street side, which purifies the air also.
The sitting area in the dining hall was designed to be far from the street, the entrance and bathroom were put near the noise source.

## Slide 50
Environmental Design
To minimize the interior noise:
Acoustical tiles from fiberglass were used at the false ceiling
Curtain and cloth covers for tables were used, with high sound absorption coefficients.
Ornamental plants were used.
The partition between the kitchen and the dining hall (parquet, gypsum board) is good in reduce the noise from kitchen.
HVAC system was insulating. Acoustic insulated flexible duct made of, steel wire and glass fiber was used. It can absorb the noise from the shaking when ventilated; it's also good in fire resistance and heat insulation.
Loud speaker system was used to give music.

## Slide 51
Environmental Design

## Slide 52
Environmental Design

## Slide 53
Solar Design:

## Slide 54
Environmental Design
Summer sun

## Slide 55
Environmental Design
Winter sun

## Slide 56
Environmental Design
Southern elevation

## Slide 58
Environmental Design

## Slide 59
Environmental Design

## Slide 60
Hydraulic Elevator:
The advantages of hydraulic elevator:
 No overhead machine room needed.
 Its dimension is optimized.
 Loads are distributed to load bearing walls-there are no overhead structural requirement.
 Machine room can be located remotely
 Installation costs are generally less than other types.

## Slide 61
Environmental Design
saving energy:
Restaurant use about 2.5 times more energy per square foot than other commercial buildings . For the reason eco-friendly equipment's were used, less energy, save money and helped protect the environment.

## Slide 62
المواصفااااااات