## Slide 1
An-Najah National University Faculty of Engineering and Information Technology
Building Engineering Department Graduation project I I
Integrated redesign of the Ministry of Education
Prepared By:
Sojood Tayseer
Noor Daraghmeh
Yasmeen Rawajbeh
Under the Supervisor :
Eng. Nermeen Al-Barq

## Slide 2: Outline
Introduction
Architectural Aspects
Environmental Aspects
Structural Aspects
Electro-Mechanical Aspects
Quantity Surveying & Cost Estimate

## Slide 3
1.
Introduction

## Slide 4
Chart: 
| 1st Qtr | 2nd Qtr | 3rd Qtr | 4th Qtr | 4th Qtr
Sales | 1 | 1 | 1 | 1 | 1
Site And Climate Analysis
Location
Site Layout
Noise Analysis
Sun Path
Analysis
Wind Analaysis

## Slide 5
2.
Architectural Aspects

## Slide 6
Chart: 
| 1st Qtr | 2nd Qtr | 3rd Qtr | 4th Qtr | 4th Qtr
Sales | 1 | 1 | 1 | 1 | 1
Architectural Aspect
Case Studies
Questionnaire
Modified
Plans
Old Plans
Standard

## Slide 7
Basement Plans
Architectural Aspect
Before Modification
After Modification
N

## Slide 8
Ground Plans
Architectural Aspect
Before Modification
After Modification
N

## Slide 9
First Plans
Architectural Aspect
Before Modification
After Modification
N

## Slide 10
Second Plans
Architectural Aspect
Before Modification
After Modification
N

## Slide 11
Third Plans
Architectural Aspect
Before Modification
After Modification
N

## Slide 12
Fourth Plans
Architectural Aspect
Before Modification
After Modification
N

## Slide 13
3.
Environmental Aspects

## Slide 14
Chart: 
| 1st Qtr | 2nd Qtr | 3rd Qtr | 4th Qtr | 5
Sales | 1 | 1 | 1 | 1 | 1
Environmental Aspects
CDF Analysis
And Design
Over Shadowing
And Solar Radiation
Thermal Analysis
And Comfort
Daylight Factor
Design Builder
Analysis

## Slide 15: Design Builder data
External wall
internal wall
U-value = 4.192 w\m2.k
U-value = 4.882 w\m2.k

## Slide 16: Design Builder data
External wall
internal wall
U-value = 0.452 w\m2.k
U-value = 0.245 w\m2.k

## Slide 17: Design Builder data
Temperature
Heat losses
Heating load
Total heating load = 170.176 KW

## Slide 18: Design Builder data
Temperature
Heat gain
Cooling load
Total cooling load = 102.17 KW

## Slide 19: Design Builder data
PMV index value
The site and source energy
Thermal comfort
Building hours = 400 hr
Final total consumption= 165.75 kw/m2

## Slide 20: Design Builder data
the conservation ratio between the building after insulation and the baseline is 63.06%

## Slide 21: Daylight Factor modifications action:
To solve the problem
Enlarged the windows
Using double low e glass
Using thermal insulation in walls and roof to enhance cooling load
Solar chimney

## Slide 22: Daylight Factor Ground floor
Before Modification
After Modification

## Slide 23
Daylight Factor First floor
Before Modification
After Modification

## Slide 24
Daylight Factor Second floor
Before Modification
After Modification

## Slide 25
Daylight Factor Third floor
Before Modification
After Modification

## Slide 26: Solar chimney
Double glass

## Slide 27: Shadowing and overshadowing Winter (21-12)

## Slide 28: Shadowing and overshadowing Summer (21- 07)

## Slide 29
4.
structural Aspects

## Slide 30: Column Distribution

## Slide 31: ASSUMPTIONS:
The following codes were used in the structural design:
 ACI 318- 2014. Code
 Uniform Building Code (UBC 97).
 American Society of Civil Engineers (ASCE)

## Slide 32: Load effect
 | Etabs kN/m2 | Manuel kN/m2 | % Error
Live Load | 15915 | 15941 | 0.16
SID Load | 16783.8 | 16811.2 | 0.16
Dead Load | 30135.7 | 28757.37 | 4.79

## Slide 33: Designing Data:
Structural Component | Compressive Strength (f’c) | Unit Weight (ɣ)
Columns and Shear Walls | 28 MPa | 25 KN/m3
Slabs and Beams | 24 MPa | 25 KN/m3
Specifications | Yield Stress (Fy) | Modulus of Elasticity (E) | Unit Weight
Reinforcement Steel | 420 MPa | 200GPa | 78.5 KN/m3

## Slide 34: Structural model

## Slide 35: Compatibility Check for the first part of the building
Compatibility check for the first part of the building
 | Etabs | Manuel | % Error
Live Load | 15915 | 15941 | 0.16
SID Load | 16783.8 | 16811.2 | 0.16
Dead Load | 30135.7 | 28757.37 | 4.79

## Slide 36: Compatibility Check for the second part of the building
 | Etabs | Manuel | % Error
Live Load | 14710 | 14766.4 | 0.38
SID Load | 15513 | 15572.48 | 0.38
Dead Load | 26470 | 25172.31 | 5.16

## Slide 37: Deflection check part 1
Etabs result = 0.029 m … deflection check passed

## Slide 38: Deflection check part 2
Etabs result = 0.032 m … deflection check passed

## Slide 39: Internal forces checks Stress-Strain Check
beam
Negative moment for beam = 352 KN
Positive moment for beam = 196 KN
• Percentage of error
Negative moment for beam = 15%
Positive moment for beam =5%
column
Etabs= 2835.55
Manuel= 2561.93
% Error = 10.6

## Slide 40: Seismic Design
Seismic zone : The faculty is located in Nablus city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
Soil profile: The soil type is rock so the soil profile is SB
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.25
Acceleration-Dependent Seismic Coefficient Ca = 0.2
Velocity-Dependent Seismic Coefficient Cv = 0.2

## Slide 41: Seismic checks 1. Period Check
T=0.76 sec.
(Tx) = 0.65 sec < 0.76sec, the check is ok
(Ty) = 0.43 sec < 0.76 sec, the check is ok.

## Slide 42: 2. Base-shear check
Manual
W = 87729kN
Fx = 8503 kN
Fy = 5221 kN
Base shear results from ETABS are more than manual calculations, so check is ok.
Etabs

## Slide 43: Drift check
All drifts in floors < limit, so the check is ok

## Slide 44: Design of structural elements Slabs
Ribbed distribution

## Slide 45: Reinforcement for floors

## Slide 47: Reinforcement for basement

## Slide 50: Footing Rainforcment

## Slide 53
Shear wall details

## Slide 55
Beam Details

## Slide 56: Stairs

## Slide 57
Chart: 
| 1st Qtr | 2nd Qtr | 3rd Qtr | 4th Qtr | 5 | 6 | 7
Sales | 1 | 1 | 1 | 1 | 1 | 1 | 1
Electro-mechanical Aspect
Power
design
Artificial
lighting
Acoustical
design
Water supply
HVAC
design
Fire alarm an
Firefighting systems
Drainage system

## Slide 58
5.
Electro-mechanical Aspects

## Slide 59: Artificial Lighting
Space Analysis and Design have both been done with DIALux evo
Employees Office

## Slide 60: Meeting room:

## Slide 61: Manager room

## Slide 62
Archive room

## Slide 63: Multipurpose room

## Slide 64: Reception + waiting room

## Slide 65: Corridor

## Slide 66: Bathroom & W.C

## Slide 67: Garage

## Slide 68: Artificial plan for the first basement.

## Slide 69: Artificial plan for ground floor

## Slide 70: Artificial plan for first floor

## Slide 71: Artificial plan for second floor

## Slide 72
Electro-mechanical Aspect
HVAC Design
The system used for HVAC is Variable Refrigerant Flow (VRF) system with casset unit.
Out Door Unit
Casset Unit
Indoor Unit

## Slide 73
HVAC Design
VRV System Concept

## Slide 74: Acoustical design
Standards:
Reverberation time
Office: 0.40-0.70 sec (Recommended reverberation times for 7 key spaces 2020)
Meeting hall: 0.80-1.90 Sec (Target Reverberation Time - Commercial Acoustics® 2020)
Meeting room: 0.60-1.20 Sec. (The Reverb Problem – Scale and Context 2021)
Noise criteria
Noise criteria (NC) is: NC35-NC40 (Noise Criteria For Rooms, 2020).
Sound transmission index (STI)

## Slide 75
As shown in Table, STC will be design at 50 dB.

## Slide 77: External wall

## Slide 78: Smoke dedicators
Fire fighting system
fire extinguishers
sprinklers
fire hoes
fire alarm

## Slide 79
Fire fighting system
In our building we have meeting hall, offices , kitchen, praying rooms, waiting areas and parking so we used:-
Type of spaces | Used fire suppression system | Fire detector system
Meeting hall | Fire extinguisher (class A, C) , water sprinkler | Smoke detector
Offices | Fire extinguisher (class A) , water sprinkler | Smoke detector
Kitchen | Fire extinguisher (class K) , water sprinkler | Flame detector
Praying rooms | Fire extinguisher (class A) , water sprinkler | Smoke detector
Waiting areas | Fire extinguisher (class A) , water sprinkler | Smoke detector
Parking | Fire extinguisher (class B) , water sprinkler | Flame detector

## Slide 80
Fire fighting system
Vertical system

## Slide 81: Quantity Surveying & Cost Estimations