## Slide 1: Structural design of Al-Awqaf building
Under supervision of: Eng. Abdelhakeem Jawhari
Prepared by: Hamza Isleem Rajaa’ Sabra Mohammed Robo’ Sa’ad Kittaneh

## Slide 2
Architectural review
Structural view
Model checks
Design & detailing
Conclusion
Outline

## Slide 4
Ground floor

## Slide 5
Upper floors

## Slide 6
Ground floor & street slope

## Slide 7
The stair was in the direction shown:

## Slide 8
Then it’s suddenly changed direction:

## Slide 9
Then

## Slide 10
The soil bearing capacity=150KN/m2, But…
Soil properties

## Slide 11
Structural View

## Slide 12
Codes and standards
- ACI 318-14
-ASCE-7 (2010)
- IBC 2012
- UBC 97

## Slide 13
Materials unit weight

## Slide 14
Why =15.5 for partition block?

## Slide 15
Internal Partitions

## Slide 16
Super Imposed dead load

## Slide 17
External “masonry” wall

## Slide 18
Soil load

## Slide 19
Live load
The live load was distributed according to the use of the floor from codes

## Slide 20
Load Combinations

## Slide 21
Lateral loads “IBC”
Ss = 2.5 * 0.2 = 0.5
S1 = 1.25 * 0.2 = 0.25

## Slide 22
Site class
The soil profile type is D

## Slide 23
Fa & Fv

## Slide 24
Seismic design category
SDS = 0.7
SD1 = 0.475
So, SDC of this project is D

## Slide 25
Lateral loads “IBC”

## Slide 26
Beams Layout & slabs directions
Drop beams (250x500) and (300x600)

## Slide 27
3D Model using SAP2000

## Slide 28
Checks
Compatibility
Ductility
Base shear
Stress-strain
Equilibrium
Period

## Slide 29
Compatibility

## Slide 30
Equilibrium

## Slide 31
Base shear IBC
By hand: W = 89208.35 KN
So, V = Cs * W = 0.0528 * 89208.35 = 4710.2 KN
Error= 2.52%

## Slide 32
Base shear UBC
By hand, V = 5232 KN
Error= 2.56%

## Slide 33
UBC
IBC
Base shear comparison, UBC or IBC?

## Slide 34
Period and modal mass participation
By hand: Tx=1.5 s By Sap: Tx=1.57 s
Error= 4.8%

## Slide 35
Period and modal mass participation

## Slide 36
Stress-Strain relationship
The errors were 0 % as shown in the report

## Slide 37
Ductility ”check story drift”

## Slide 38
Limit= 0.02*3.1= 0.062 m= 62mm
Ductility ”check story drift”

## Slide 39
Ductility ”check story drift”
Story | h m | Load Case |  | mm
Story10 | 3.2 | Service y | 7mm | 29.4
Story9 | 3.2 | Service y | 7 | 29.4
Story8 | 3.2 | Service y | 7 | 29.4
Story7 | 3.2 | Service y | 7 | 29.4
Story6 | 5.2 | Service y | 7 | 29.4
Story5 | 2.7 | Service y | 7 | 29.4
Story4 | 2.95 | Service y | 5 | 21
Story3 | 4.65 | Service y | 4 | 16.8
Story | h m | Load Case |  | 
Story10 | 3.2 | Service y | 7mm | 29.4
Story9 | 3.2 | Service y | 7 | 29.4
Story8 | 3.2 | Service y | 7 | 29.4
Story7 | 3.2 | Service y | 7 | 29.4
Story6 | 5.2 | Service y | 7 | 29.4
Story5 | 2.7 | Service y | 7 | 29.4
Story4 | 2.95 | Service y | 5 | 21
Story3 | 4.65 | Service y | 4 | 16.8
Story2 | 2.95 | Service y | 4 | 16.8
Story1 | 4.65 | Service y | 3 | 12.6
is less than allowable story drift, = Ok
Or by UBC = 0.7R*

## Slide 40
Long term deflection & Shear checks

## Slide 41
Design

## Slide 42
Solid slabs were used in the floors (Basement to 3rd)
Ribbed slabs were used in the floors (4th to 10th)
Solid slab was used in the roof floor
Solid: 18 cm both one way and two way
ribbed: 25 cm both one way and two way
Slabs

## Slide 43
Design of slabs
Solid slabs:
Minimum steel =
It can resist 25.8 KN.m/m moment
So, for all panels have moment 25.8 or less, /m will be used

## Slide 44
Design of slabs

## Slide 45
Design of slabs
Ribbed slabs:
Minimum steel =
It can carry 16.8 KN.m/rib moment
So, for all panels have moment 16.8 or less, /m will be used

## Slide 46
Design of slabs

## Slide 47
Ribbed slabs reinforcement

## Slide 48
Design of Beams for flexure

## Slide 49
Design of Beams for flexure
The error between sap design results and hand calculations was ZERO

## Slide 50
Design of Beams for shear
Vc= √fc′bd
= Vc+ Vs
=
Error= ZERO %

## Slide 51
Design of Beams

## Slide 52
Design of Columns

## Slide 53
Design of shear walls

## Slide 56
Design of shear walls

## Slide 57
Stair Design