## Slide 1
Hasan Abo Khalel
Talal Hijaze
Shafe Musleh
Graduation Project II
Community Center
Supervisor:
Dr. Hasan Mathar
Notes: To use this title animation slide with a new image simply 1) move the top semi-transparent shape to the side, 2) delete placeholder image, 3) click on the picture icon to add a new picture, 4) Move semi-transparent shape back to original position, 5) Update text on slide.

## Slide 2
Project Outline
Site Analysis
Architectural Design
Environmental Design
Structural Design
Mechanical Design
Electrical Design
Safety Design
Quantity Survey and Cost Estimate

## Slide 3
Site Analysis
1

## Slide 4: LOCATION

## Slide 5: SITE PLAN

## Slide 6
Architectural Design
2

## Slide 7: MASTER PLAN

## Slide 8: MASTER PLAN AREAS

## Slide 9: FIRST FLOOR

## Slide 10: FIRST FLOOR AREAS

## Slide 11: SECOND FLOOR

## Slide 12: SECOND FLOOR AREAS

## Slide 13: ELEVATIONS
West Elevation
East Elevation

## Slide 14: ELEVATIONS
North Elevation
South Elevation

## Slide 15: SECTIONS
Section A-A
Section B-B

## Slide 17: MASTER PLAN

## Slide 19: MASTER PLAN

## Slide 20: MASTER PLAN

## Slide 21
Environmental Design
3

## Slide 22: Daylight Factors
Ground Floor
First Floor

## Slide 23: ENVELOP INSULATION
Detailing of Envelope Elements

## Slide 24: HEATING CAPACITY
Total heating load capacity = 117.62 kW

## Slide 25: COOLING CAPACITY
Total cooling load capacity = 159.71 kW

## Slide 26: ACOUSTICS
Absorption Coefficient for ceiling.
(Acoustic tile suspended)
Absorption Coefficient for floor.
(Tile)
Absorption Coefficient for walls.
(Plaster)

## Slide 27
RT60
Activities hall
Range of RT60 for activities hall is from 1.6-2.1 seconds
RT60 =
1.77 at 500 HZ
1.61 at 1 KHZ

## Slide 28
STC
Between Activities hall and the outside
STC = 60.00

## Slide 29
STC
Between Activities hall and Library
STC = 63.00

## Slide 30
IIC
For Roof
IIC = 52.00

## Slide 31
Structural Design
4

## Slide 32: Design Codes
ACI -318-09 for reinforced concrete structural design.
UBC -97 for earthquake load computations.
ASCE for load computations.
The analysis and design were done using E-tabs program

## Slide 33: Structural Design
The project consists of two block separated by 5 cm structural joint.

## Slide 34
Design Data:
Concrete F`c For slab, Beams, Columns, Shear walls and Footing = 28 MPa
Reinforcement steel: The yield strength of steel Fy= 420MPa.
Bearing Capacity For Soil 350 kN/m².
Block A

## Slide 35
Soil Type Sc Location: Jenin → Zone: 2B → Z = 0.2 Cv = 0.32 Ca =0.24 I =1 R = 5.5
In order to reach 90 % of mass participation we need 9 modes for UX and 8 mods for UY
Seismic Design Data

## Slide 36: Loads
Loads Used for Concrete blocks
Load type | Ground slab | First floor slab | second floor slab
Live | 4 KN/m2 | 4 KN/m2 | 4 KN/m2
SID | 3.5 KN/m2 | 3.5 KN/m2 | 3.5 KN/m2

## Slide 37: Structural Design
3D Structural Modeling For Block A

## Slide 38: Structural Design
For Block A
Slabs
Structural system: One way ribbed slab withThickness = 30 cm .

## Slide 39
Beams
Main beam
Column
Three types of column diminutions were used
Column 70x50 cm , circular column D=50cm
Column 60x30 cm
Secondary beam
Name of beam | Dimensions (mm)
B1 | 500*300
B2 | 500*300
B3 | 500*300
B6 | 900*600
Name of beam | Dimensions (mm)
B4 | 200*300
B5 | 400*300
b7 (ring beam) | 150*300

## Slide 40
Footing type | Footing dimension mm | Depth (mm)
F1 | 2000*1800 | 450
F2 | 1600*1300 | 450
F3 | 1100*1300 | 450
F4 | 1500*1200 | 450
F5 | 1200*900 | 450
SW1 | B=2300 | 550
Using manual method we designed isolating
footing for the building
Foundation Design for the buildings

## Slide 41
Footing checks:
check of thickness
Vu = Qu (L1 – d) = 128.4 KN
Ø Vc = 0.75 / 6 * λ* * * d = 132.28 KN > 128.4 KN  Ok
check of punching :
Vu,punching = pu - A1* QU , A1 = (c1 + d ) (c2 + d )
= 1541 – (0.7 +0.35) (0.5 + 0.35 ) 428 = 1159 KN
Ø Vc, punching = 1760 KN > 1159 KN  Ok

## Slide 42
Footing Reinforcement
Footing type | Footing dimension mm | Depth (mm) | Reinforcement
F1 | 2000*1800 | 450 | 5Ø14
F2 | 1600*1300 | 450 | 5Ø14
F3 | 1100*1300 | 450 | 5Ø14
F4 | 1500*1200 | 450 | 4Ø16
F5 | 1200*900 | 450 | 5Ø14
SW1 | B=2300 | 550 | 4Ø25

## Slide 43
Tie Beam Design for the buildings
3D Structural Modeling For Block1 with tie beam
Tie Beam
Load on Tie Beam
Uniform Load = own weight + wall
Own weight calculated by e-tabs
Wall weight = 7 KN/M2 *Axial load = 0.1P

## Slide 44
Tie Beam Reinforcement:
Tie Beam
NO. of Beam | Dimensions | top BARS | Bottom bars
B1 | 500*300 | 3Ø14 | 3Ø14
B2 | 500*300 | 3Ø12 | 3Ø12
B3 | 500*300 | 3Ø10 | 3Ø10
Section in tie beam3

## Slide 45
Checks
compatibility ok
Max deflection in the model = 44.5 mm
Max allowable deflection in slab = L / 240
Max allowable deflection = 13.5 / 240 = 56 mm
 Ok

## Slide 46
Checks
Load | ETABS-Results(KN) | Manual Results (KN) | Error
Dead Load | 7620.5282 | 7527 | 1.20%
Live Load | 3202.728 | 3203.12 | 0.01%
SID Load | 2802.387 | 2803.73 | 0.01%
Error = ( ( Manual – ETABS Load ) / Manual Load ) X 100%
Equilibrium Check

## Slide 47
Checks
From E-tab M = (M1+M2)/2 + M3
(6.6+6.8)/2+5.3 = 12
By hand M = W L2 / 8 = 4* 5 2 / 8 = 12.5  ok
Internal Forces Check

## Slide 48
Seismic
Base shear (V) for seismic design
Manual calculation for ( V ) = 2230.89 KN.
From Etabs :
V by hand calculation > v by e-tabs V max > vx-direction
Vmax > vy- direction
The Check is OK

## Slide 49
Seismic
Building period check
T=C*H0.75
T= (0.0488 * (12)0.75)*1.4 = 0.435 sec
The period in E-tab is less than allowance
The Check is OK

## Slide 50
Checks
Lateral building drift
According to UBC97 MAX. Drift should not exceeds 0.025 the story height for structure having period less than 0.7 sec.
4.5 * 0.025 = 11.25 mm
By take the maximum displacement in the building and the center of diaphragm
Δ m = 0.7 * R* δ
Where δ: is the drift difference between stories , Δm: structure drift.
R: reduction factor.
δ = 1.796-0 = 1.796
Δm = 0.7 * 5.5 * 1.796
Δm = 6.9 mm Δm < 6.9 mm
11.25 mm > 6.9 mm  Drift is OK

## Slide 51: Block A
Ribbed Slab Reinforcements in y– Direction For Block A:

## Slide 52: Structural Design
Beams Reinforcements
NO. of Beam | Dimensions mm |  | Top BARS mm2 |  | Bent |  | Bottom bars mm2 | Stirrups
B1 | 500*300 |  | 5Ø16 |  | 2Ø16 |  | 4Ø16 | Ø10/15cm
B2 | 500*300 |  | 6Ø20 |  | 3Ø20 |  | 5Ø20 | 1Ø10/15cm
B3 | 500*300 |  | 5Ø20 |  | 2Ø20 |  | 4Ø20 | 2Ø8/15cm
B4 | 200*300 |  | 2Ø12 |  |  |  | 3Ø12 | 1Ø10/15cm
B5 | 400*300 |  | 4Ø12 |  |  |  | 4Ø12 | 2Ø8/15cm
B6 | 900*600 |  | 7Ø20 |  | 4Ø20 |  | 4Ø20 | 1Ø10/10cm
b7 (ring beam) | 150*300 |  | 2Ø10 |  |  |  | 2Ø10 | 1Ø8/15cm

## Slide 53
Beams
Reinforcements

## Slide 54
Columns
Reinforcements

## Slide 55
Shear walls
Reinforcements

## Slide 56
Stairs
Reinforcements

## Slide 57
Mechanical Design
5

## Slide 58
HVAC

## Slide 59
HVAC
VRF System
 | Volumetric flow rate (m3/s) | # of diffusers
Activities hall | 1.567 | 9
Restaurant | 1.241 | 7
Reception | 0.737 | 4
Library | 0.898 | 6

## Slide 60
Water Supply
Water consumption of community center = 20 g per person
The community center is used 12 hours in a day, so the consumption of the community center which is used by nearly 70 persons 20*70 = 1400 g
The consumption of water per day = 1400 g * 0.5 day= 700 g per day.
= 2660 liter per day
Assume that there is 3 day with no water supply from municipality.
We use 6 water tanks with 1.5 cube for each one.

## Slide 61
Drainage
Septic tank is used to collect sewer, then we pump waste to the main sewerage network

## Slide 62
Storm Water
For storm water, we designed a water tank to collect storm water with volume = 36 m³.
We used this storm water for trees.

## Slide 63
Electrical Design
6

## Slide 64: Lighting Design
Artificial Lighting Design

## Slide 65: Lighting Design
Artificial Lighting Design

## Slide 66: Lighting Design
Artificial Lighting Design

## Slide 67: Lighting Design
Artificial Lighting Design

## Slide 68: Lighting Design
Artificial Lighting Design

## Slide 69: Lighting Design
Artificial Lighting Design

## Slide 70: Lighting Design
Electricity Calculations
Lighting distribution in ground floor.

## Slide 71: Sockets Design
Electricity Calculations
Sockets distribution in the first floor.

## Slide 72: Control Panel
Electrical control panel system

## Slide 73
Safety Design
7

## Slide 74
Safety Design

## Slide 75
Safety Design

## Slide 76
Safety Design
Fire alarm device
Hose and extinguishers cabinet

## Slide 77
Quantity Survey & Cost Estimate
8

## Slide 78: Quantity Survey & Cost Estimate
B.O.Q.
Total Project Cost = 1,600,810.0 $ = 6,403,240.0 NIS.
Total Cost per m2 = 615.7 $ /m2 .

## Slide 79
Thank You 
Notes: To use this title animation slide with a new image simply 1) move the top semi-transparent shape to the side, 2) delete placeholder image, 3) click on the picture icon to add a new picture, 4) Move semi-transparent shape back to original position, 5) Update text on slide.