## Slide 1
An-Najah National University
Facility Of Engineering And Information Technology
Department of Building Engineering
Graduation Project 1
An Integrated Design for Municipal Development & Lending Fund Building
.
Prepared By: Raghda Jaradat.
Tasneem Abu Zant.
Lina Shakhshir.
Submitted To: Dr. Ahmad Haj Saleh.

## Slide 2
Content:
Introduction and site analysis
Architectural design
Environmental design
Structural design
Electrical design
Safty design
Quantity surveying
Mechanical design

## Slide 3
This project is an integrated design for a municipal development &lending fund building, located in Ramallah city .
This building has eight floor ,
The total area of the building = 2730 m2
Introduction:

## Slide 4
Site analysis

## Slide 5
Project location
And
adjacent building
Sun path , wind
And noise
The shading

## Slide 6
Project location and adjacent building:

## Slide 7
Sun path, wind and noise :

## Slide 8
Shading:
At 8:00AM
At 12:00PM
At 4:00PM
At 21st December at winter

## Slide 9
At 21st June at summer

## Slide 10
Architectural aspects:

## Slide 11
The architectural plans before and after modification:
Basement 2:
Before modification
After modification

## Slide 12
Basement 1 :
Before modification
After modification

## Slide 13
Ground floor :
Before modification
After modification

## Slide 14
First floor :
Before modification
After modification

## Slide 15
Second floor :
Before modification
After modification

## Slide 16
third floor :
Before modification
After modification

## Slide 17
Forth floor :
Before modification
After modification

## Slide 18
Fifth floor :
Before modification
After modification

## Slide 19
Elevations:
South
After modification

## Slide 20
North :

## Slide 21
East :

## Slide 22
West :
After modification

## Slide 23
Sections:
Section A-A
Section B-B

## Slide 24
Environmental aspects:

## Slide 25
Introduction:
Kezan wall:

## Slide 26
The basic parameter in environmental aspects:
Daylight factor
Heating and cooling

## Slide 27
Basement 1 :
Before modification
After modification

## Slide 28
Ground floor :
Before modification
After modification
After modification the daylight factor was improved because we used many solution like:
Blackout the glass
Use curtains.

## Slide 29
First floor:
Before modification
After modification

## Slide 30
Second floor :
Before modification
After modification

## Slide 31
materials used
External wall
Internal partition
Flat roof

## Slide 32
Heating and Cooling load

## Slide 34
Thermal comfort:

## Slide 35
Structural Aspects:

## Slide 36
Codes:
ACI-318-19
materials
Concrete 28MPa
Steel 420MPa
loads
Live load =3.90KN/m2
SID =4.5KN/m2
Concrete brick wall = 18KN/m2
slab
one way ribbed slab
General information

## Slide 37
3D Model :

## Slide 38
Checks:
ETABS Checks
To ensure that the calculation is done correctly and to adopt the design results from ETABS; some checks are required:
compatibility check
Equilibrium check
Stress-strain check
period check
deflection check
drift check
Modal mass participate ratio check (MPMR)
All checks were done for the three parts and all were acceptable.

## Slide 39
Compatibility check :

## Slide 40
Error % | Etabs Results (KN) | Manual calculation(KN) | Load
0% | 11536.8451 | 11537.17 | Live load
0% | 11363.4177 | 11362.820 | SID
2.5% | 20115 | 19615.409 | Dead load
Equilibrium check:

## Slide 41
Internal force check:
Stress strain check:
column check:
Error % | Etabs result(KN) | Manual calculation (KN)
2.723 % | 4671.2682 | 4547.457
Slab check:
Error % | Etabs result (KN) | Manual calculation (KN)
4.1% | 31.245 | 32.585

## Slide 42: Seismic check
period check
Base-shear check
Drift check
Seismic zone:2A
Soil profile: SD
Ca=0.22
Cv=0.32
R=5.5

## Slide 43: Period Check
Tmanual = 0.868
Tetabs = 0.879 Tetabs < T manual

## Slide 44: Base shear Check
W=38530.99
V Manual= 2550.402

## Slide 45: Drift check:

## Slide 46: Design of structural elements
Columns
Details of column 600 x 300
longitudinal section for column (60*30).
Details of column 600x600

## Slide 47: Design of slabs:
Reinforcement for slabs.
Additional Top reinforcement in Horizontal direction (for zones above the minimum)

## Slide 48: One way ribbed slab

## Slide 49: Reinforcement

## Slide 50: Beams
Beams Dimention = 350 x 800
Types of beam : Hidden beam.

## Slide 51: Shear walls:

## Slide 52: Reinforcement for shear wall

## Slide 53: Footing

## Slide 54: Stairs

## Slide 55: Water Tank
Top Reinforcement for water tank
Section A-A for water tank.

## Slide 56: Basement wall

## Slide 57
Electro-Mechanical Aspet

## Slide 58: Electro-Mechanical aspects

## Slide 59: Artificial lighting

## Slide 64
For Reception
And waiting area
Standard lighting design
DIALux results
lighting in reception and
Waiting area
Lux>400
Glare <22
Uniformity >.6
Lux =727lux
Glare =12
Uniformity =.2
Lux =727>400lux
Glare 12<22
Uniformity .2<.6

## Slide 70
Acoustical design - INSUL9.0 program
For interior partitions
For Ceiling

## Slide 71
Acoustical design - INSUL9.0 program
For external glass wall
For floor

## Slide 72
Acoustical design -EASE program
Model of speaker
Speaker specification

## Slide 73
Results of simulations
Meeting room model from EASE
Meeting room Reverberation time

## Slide 74
The number of speaker in meeting room
Area of multipurpose hall= 48.90m².
Clear height = 3.30m.
tan =
x = 3m
The coverage area for the speaker = 3² × π=28.26 m ².
The number of speaker = (Area of meeting room)/(Coverage area ) =48.90/28.26= 2 Speakers

## Slide 75
Results of simulations
Meeting room STI
Meeting room Articulation loss

## Slide 76
Results of simulations
Meeting room sound pressure level
Meeting room total SPL

## Slide 77
Drainage system
Black water
Gray water
Rain water

## Slide 80
Drainage fixture units(DFU's )
Black water
Gray water

## Slide 81
The diameter, slope and pipe type

## Slide 82
Types of pipes:
Steel for Vertical pipes
PVC for horizontal and branch pipes
Water supply system

## Slide 83
Pipes diameter :

## Slide 84
HVAC system
• Heating load capacity
• Cooling load capacity
252.61 KW
322.65 KW
VRF system has been considered
Design capacity = 322.65

## Slide 86
Sample of calculation
Volumetric flow rate for third floor spaces
Volumetric flow rate for forth floor spaces

## Slide 90
hvac system
Third floor
Forth floor

## Slide 91
hvac derange
Third floor
forth floor

## Slide 93
Power Design

## Slide 94
power design

## Slide 95
Used fire fighting system:
1- Sprinkler system
2- Estinguisher system
3- Fire hose station
4- FM200
5- Fire alarm system

## Slide 96
Fire alarm system

## Slide 98
Total unit cost = 1774.36 / m2