## Slide 1: Abstract

## Slide 2: Applications of Exoskeleton

## Slide 3: Solidworks concept of this project

## Slide 4: Material selection
The most important considerations in material selection are:
Strength to weight ratio of the material
Stiffness
Fracture toughness
Depending on these factors, we found that carbon fiber is the best material that meets the required work.

## Slide 5: Biomechanical Consideration in the Design of Lower Limb Exoskeleton

## Slide 6: Kinematic Analysis and Dynamic Analysis
Using Lagrangian calculations, torque was calculated in the Hip, Knee, and Ankle joints.
Torque in hip joint
Torque in knee joint
Torque in ankle joint

## Slide 7: Actuators
Hip joint motor
Knee joint motor
The ankle joint motor was added just to help in Carrying the foot portion Weight so it doesn’t need high torque.
Hip joint motor Knee joint motor Ankle joint motor

## Slide 8: Gear Design
Gear Design in hip joint:
The angular velocity of the motor in the hip joint is equal w1=1500rpm and the required angular velocity in hip joint =5rad/s=47.7rpm so the gear ratio equals:
Gear Design in knee joint:
The angular velocity of the motor in hip joint equals w1=2150rpm and the required angular velocity in hip joint =10rad/s=95.5rpm so the gear ratio is equal to:

## Slide 9: Design of the Sheave and Wire Rope
Design of the Sheave and Wire Rope on Knee Joint (6*19):
The sheave diameter
Design of the Sheave and Wire Rope on Hip Joint (6*19):
The sheave diameter

## Slide 10: Shafts Design
A shafts on hip joint
Design for shaft #1(derived by gear placed on motor and driving a shaft #2)
𝐷1=𝐷5=0.5 𝑖𝑛
𝐷2=𝐷4=0.75 𝑖𝑛
𝐷3=1 𝑖𝑛

## Slide 11
Design for shaft #2(derived by gear placed on shaft #1 and driving a sheave that driving the leg)
D1=D5=
D2=D4=
D3=

## Slide 12
A shafts on knee joint
Design for shaft #1(derived by gear placed on motor and driving a shaft #2)
D1=D5=0.5in
D2=D4=1in
D3=1.25in
Design for shaft #2(derived by gear placed on shaft #1 and driving a sheave that driving the leg)
D1=D5=0.75in
D2=D4=1in
D3=1.25in

## Slide 13: Bearing design
Bearing on the hip shafts

## Slide 14
Shaft #1
Where:
𝐶10: catalog load rating(N)
𝑎𝑓:application factor (>1)(assume equal to 1.2)
𝐹𝐷: resultant force of radial force
𝑋`0=0.02 ɸ−𝑋0=4.439
𝑏=1.483 a=3 for ball bearing
For bearing A for deep groove bearing
From table: OD(out diameter)=62mm
Width =16mm
Bore = 30mm

## Slide 15
For bearing B for deep groove bearing
From table: OD(out diameter)=32mm
Width =10mm
Bore = 12mm
Shaft #2
For bearing Cfor angular contact bearing
From table: OD(out diameter)=52mm
Width =15mm
Bore = 25mm
For bearing Dfor angular contact bearing
From table: OD(out diameter)=40mm
Width =12mm
Bore = 17mm

## Slide 16
Bearing on the Knee shafts

## Slide 17
By doing the same steps
For bearing A
The bore equal 17mm, OD=40mm and the width equal 22mm
For bearing B
The bore equal 30mm, OD=62mm and the width equal 16mm
For bearing C
The bore equal 15mm, OD=35mm and the width equal 11mm
For bearing D
The bore equal 20mm, OD=47mm and the width equal4mm

## Slide 18: Block Diagram
Control System

## Slide 19: Sensors location

## Slide 20: Arduino Circuit & Parts

## Slide 21: Battery
It is hard to find a 12 v battery with 565 A.h with suitable Wight so in this project we chose a 36 v battery with 188 A.h
4LOAD Charge Box

## Slide 23: Solid work analysis
Stress analysis for waist part

## Slide 24: Solid work analysis
Strain analysis for waist part

## Slide 25: Solid work analysis
stress analysis for thigh part

## Slide 26: Solid work analysis
strain analysis for thigh part

## Slide 27: Feasibility study