## Slide 1: Size Reduction of Solar Water Heater by Utilizing Phase Change Material
Prepared by:
Rand Abu-Rumh
Walaa Shami
Supervisor:
Dr. Abdelrahim Abu-alsafa

## Slide 2: Objectives
investigate the phase change material as a thermal energy storage method
Study the different types solar water heaters
Investigate the mathematical modeling of solar water heaters with and without PMC
Optimize the size of solar water heater with phase change material

## Slide 3: outlines
Introduction
The Existed Solar Water Heater System
Comparison Between Three Sizes of Storage Tank of SWH
The Mat-lab Algorithm
The Suggested SWH system
Comparison Between The Results of The Existed System and The Suggested System
Conclusion and Recommendation

## Slide 4: INTRODUCTION
In Palestine there is a large dependence on SWH to heat water. In 2001, 72% of Palestinian houses have used solar heaters but this percentage was decreasing as it reached 62% in 2014. This decrease is due to increase in the building height and decrease the space available for solar water heater (SWH).

## Slide 5: The Existed Solar Water Heater System
80, 180 and 240 litter of storage tank volumes are available in the market.
Solar collector area = 3
Thermo-siphon, flat plate SWH

## Slide 6: Three Sizes of SWH Storage Tank
Chart: Solar Fraction Versus Time For November
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
8o Lit | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 82.9106 | 76.3217 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
180 Lit | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
240 Lit | 92.5041 | 91.755 | 90.1409 | 89.0639 | 87.9701 | 86.8687 | 85.4163 | 81.9136 | 73.7692 | 65.357 | 77.3622 | 84.5936 | 96.17 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 99.6553 | 94.7995
Chart: Solar Fraction Versus Time For March
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
80 Lit | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 85.7784 | 78.33 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
180 Lit | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
240 Lit | 96.4324 | 95.5626 | 93.799 | 92.5453 | 91.3733 | 90.1687 | 88.5848 | 84.8856 | 77.1737 | 69.1027 | 70.3468 | 85.5553 | 95.0055 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100

## Slide 7: The Chosen Size of Storage Tank to be The benchmark is 180 litter
Chart: Storage Tank Temperature Vs Time
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
January | 15 | 14.996 | 14.874 | 14.7719 | 14.6706 | 14.5635 | 14.4241 | 14.1305 | 15.094 | 18.6176 | 24.0693 | 30.6664 | 36.8948 | 42.4475 | 46.6395 | 48.861 | 48.5825 | 47.4109 | 45.9818 | 44.1428 | 41.9677 | 39.8114 | 37.9365 | 36.3343
February | 47 | 46.7263 | 46.0306 | 45.5594 | 45.12 | 44.6618 | 44.0365 | 42.5742 | 39.4969 | 36.5538 | 36.8609 | 39.5693 | 43.8429 | 48.7907 | 53.7756 | 58.3537 | 60.7735 | 60.6871 | 59.2751 | 57.4518 | 55.3058 | 53.1099 | 51.0551 | 49.183
March | 59 | 58.6703 | 57.9556 | 57.4433 | 56.9613 | 56.4611 | 55.8077 | 54.3907 | 51.5335 | 49.19 | 50.1109 | 53.3511 | 57.6629 | 62.5752 | 67.3291 | 71.151 | 73.3992 | 73.1022 | 71.4027 | 69.211 | 67.2919 | 65.3065 | 63.4252 | 61.6848
April | 60 | 59.6877 | 59.0341 | 58.5574 | 58.1073 | 57.64 | 57.0352 | 55.7609 | 53.298 | 52.3505 | 53.2042 | 56.4591 | 60.9788 | 65.9559 | 70.8457 | 74.3674 | 76.2708 | 76.2141 | 74.7007 | 72.7485 | 70.4184 | 68.013 | 65.743 | 63.6561
May | 68 | 67.6558 | 66.8826 | 66.333 | 65.873 | 65.3989 | 64.8089 | 63.3114 | 60.3403 | 59.1736 | 60.4323 | 63.6096 | 68.0424 | 72.9172 | 77.4585 | 80 | 80 | 80 | 78.7259 | 77.0907 | 75.1174 | 73.0498 | 71.0669 | 69.2152
June | 69 | 68.6708 | 67.9538 | 67.4372 | 66.9511 | 66.4467 | 65.7921 | 64.4274 | 61.7664 | 61.2876 | 63.1141 | 66.7147 | 71.3262 | 76.298 | 80 | 80 | 80 | 80 | 78.8983 | 77.4592 | 75.7127 | 73.8689 | 72.0864 | 70.409
July | 70 | 69.6808 | 69.0054 | 68.5135 | 68.0494 | 67.5686 | 66.9491 | 65.6682 | 63.1815 | 62.8478 | 64.9299 | 68.8231 | 73.7122 | 78.8091 | 80 | 80 | 80 | 80 | 79.2687 | 77.958 | 76.3659 | 74.6799 | 73.0438 | 71.4982
Augest | 70 | 69.6798 | 69.0039 | 68.5131 | 68.0506 | 67.5705 | 66.9484 | 65.6379 | 63.1134 | 62.7048 | 64.9805 | 69.26 | 74.7236 | 80 | 80 | 80 | 80 | 80 | 78.925 | 77.5402 | 75.8614 | 74.1028 | 72.4143 | 70.8345
September | 68 | 67.676 | 66.9646 | 66.4558 | 65.978 | 65.4814 | 64.8304 | 63.4183 | 60.6431 | 59.6532 | 61.6227 | 65.7737 | 71.2216 | 77.0472 | 80 | 80 | 80 | 80 | 78.7763 | 77.1913 | 75.3076 | 73.3491 | 71.4833 | 69.751
October | 66 | 65.6708 | 64.9185 | 64.3886 | 63.8933 | 63.4391 | 62.8681 | 61.7181 | 58.6632 | 56.9156 | 58.3594 | 62.3787 | 67.6561 | 73.48 | 78.7146 | 80 | 80 | 78.8474 | 77.4576 | 75.6777 | 73.573 | 71.3993 | 69.344 | 67.4501
November | 55 | 54.7053 | 54.0437 | 53.575 | 53.1325 | 52.6725 | 52.0643 | 50.7157 | 47.9495 | 46.0073 | 47.5293 | 51.1594 | 56.2929 | 61.8693 | 66.3454 | 69.2561 | 69.8948 | 68.5018 | 66.8069 | 64.6545 | 62.7871 | 60.8657 | 59.0544 | 57.3895
December | 45 | 44.7431 | 44.0704 | 43.6181 | 43.1971 | 42.7572 | 42.1552 | 40.7567 | 37.8861 | 35.3653 | 36.3268 | 40.0425 | 45.3154 | 50.9929 | 55.7376 | 58.7628 | 59.617 | 58.4568 | 57.0446 | 55.2549 | 53.1492 | 50.9957 | 48.9837 | 47.1532

## Slide 8
The Mat-lab Algorithm

## Slide 9: The Suggested SWH System
The Suggested design |  | 
m2 | 1.5 | Collector Area
Litter | 120 | Storage Tank Volume
Kg | 25 | Mass of PCM
Litter | 30.5 | Volume of PCM
Litter | 80.5 | Volume of Water
Storage Tank |  | 
m3 | 0.12 | Storage Tank volume
W/m2.C | 0.57 | Us
 | 2 | h/d
PCM (paraffin-wax) |  | 
°C | 52 | melting point
kJ/kg | 230 | latent heat of fusion (h)
kg/m³ | 820 | density
kJ/kg.K | ­­­­2.4 | specific heat
W/m.K | 0.25 | thermal conductivity
Kg | 25 | Mass
Thermo-siphon, flat plate SWH

## Slide 10: Comparison between The Results of The Existed System and The suggested system For April
The existed system
The suggested system

## Slide 11: Comparison between The Results of The Existed System and The suggested system For July
The existed system
The suggested system

## Slide 12: Comparison between The Results of The Existed System and The suggested system For September
The existed system
The suggested system

## Slide 13: Conclusion and Recommendations
The suggested system consists of 120 litter storage tank, 1.5 collector area and 25 kg of PCM. It has a solar fraction approximately equal to the SF of the existed system and the same minimum temperature for each month. And decrease the gap between the minimum and maximum temperature and subsequently reduce the heat loss from the storage tank that results from the temperature difference between the tank and the ambient
Our recommendations for any future work:
Study the system with different types of PCM with different melting temperature or by using dual type of PCM.
Conduct an experimental work to justify the mathematical models.
Study new configuration that are not mentioned in this report.
Study the suggested system by using evacuated tube instead of flat plate collector.