## Slide 1
An-Najah National University
Faculty of Engineering
Civil Engineering Department.
{Graduation Project}
By:
Adie Qashoua
Yazan Zubaida
Amer Qawariq
Supervisor:
Ph.D. Isam Jardaneh
2011

## Slide 2
“Soil Reinforcement”
Mechanically Stabilized Retaining Wall

## Slide 3: Project Outline
CHAPTER 1 Introduction
CHAPTER 2 Literature Review of Soil Reinforcement
CHAPTER 3 Mechanically Stabilized Retaining Wall
CHAPTER 4 Design of Conventional Retaining Wall
CHAPTER 5 Design of Mechanically Stabilized
Retaining Wall.
CHAPTER 6 Quantities and Cost Comparison

## Slide 4
General View
Reinforced earth is an expression used by specialized soil reinforcement companies that refers to the combination of geotechnical and structural engineering principles.

## Slide 5
“ History of Soil Reinforcement’’

## Slide 6
Modern Structures
The modern concept of the soil reinforcement and soil structure was proposed by Casagrande. The modern form of earth reinforcement was introduced by Vidal in the 1960s.

## Slide 7
Vidal’s concept

## Slide 8
“ Application of
Soil
Reinforcement “

## Slide 9
There are many applications of soil reinforcement such as :
Bridge abutments.
Bridge abutments with piled bankseat.
Sloping bridge abutments.
Embankments.
Dams.

## Slide 10
Bridge abutment

## Slide 11
Bridge Abutment with Piled Bankseat

## Slide 12
Sloping Bridge Abutment

## Slide 13
Embankment

## Slide 14
Dam

## Slide 15: Advantages and Disadvantages of Soil Reinforcement

## Slide 16: Advantages of Soil Reinforcement
1. Allow in-situ strengthening on existing slope
surface.
2. Allow excellent working space in front of the
excavation face.
3. Avoid unnecessary temporary works.
4. Only requires light machinery and equipment.

## Slide 17: Disadvantages of Soil Reinforcement
1. Less suitable for course grained soil and soft clayey soil.
2. Suitable only for excavation above groundwater.

## Slide 18: Mechanically Stabilized Retaining Wall

## Slide 19: General Definition
It is a new Geotechnical technology that uses reinforcement materials to reinforce the backfill of retaining walls.

## Slide 20: Construction Components
Metallic Facing System.
reinforcement.
Facing Connection.
Backfill Materials.

## Slide 21: Facing System

## Slide 22: Metallic reinforcement

## Slide 23: Facing Connection

## Slide 24: Backfill Materials

## Slide 25: Design of Mechanically Stabilized Retaining wall

## Slide 26: Dimensions and Soil Properties

## Slide 27: Internal and External Stability
Internal Stability |  | External Stability | 
Horizontal Spacing | 1 m | FS (Siding) | 3.57
Vertical Spacing | 0.5 m | FS (Overturning) | 27.3
Maximum Tie Force | 24.33 KN | FS (Bearing Capacity) | 5.83
Thickness of Tie ( t ) | 6 mm |  | 
Length of Tie (L) | 13 m |  | 

## Slide 28: Conventional Retaining Walls

## Slide 29: Definition
Conventional retaining walls are classified as the earliest supporting systems used at excavation sites, soil slopes, highway beds and bridge abutments.

## Slide 30: Types of Conventional Retaining Walls

## Slide 31: Design of Conventional Retaining Wall

## Slide 32: External Stability Check

## Slide 33: Internal Stability (Steel Distribution)

## Slide 34: Quantities and Cost Comparison

## Slide 35
 | Conventional Retaining Wall |  | Mechanically Stabilized Retaining Wall |  | 
 | Quantity | Cost | Quantity |  | Cost
Steel | 0.56 ton | 1792 NIS | 0.639 Ton |  | 2045 NIS
Concrete/Facing | Concrete | 1796 NIS | No. of Facing |  | 700 NIS
 | 6.1 Cm |  | 14 |  | 
Backfill | 18.2 Cm | 145.6 NIS | Backfill material is used from the site |  | 
Total Cost |  | 3707 NIS |  | 2745 NIS | 

## Slide 36: Thank You For Your Listening