## Slide 1
An-Najah National University Faculty of Engineering Building Engineering Department
Graduation Project – 2
Hamdi Manko Cultural Center
Prepared By:
Ameena Zaghal
Mohammad Taqatqa
Raneen Abo jamos Project supervisor: Dr. Mukkarram Abbas

## Slide 2
Project Definition
Analysis , assessment and solution for different engineering perspectives
A- architectural aspects
B- Environmental aspects
C- structural aspects
D- mechanical and HVAC design
E- safety design
Quantity and cost of the project
Outline:

## Slide 3: project definition:
1- Administration
2- Theater
3- Classes
4- Computer room
5- Library
6- Music room
7- Game room
8- Cafeteria
9- Conference room
10- Gallery
11- Meeting room
Total area = 1700 m²

## Slide 4: Analysis of Architectural aspects

## Slide 5: Our analysis, assessment and solutions
Classes
Before
After

## Slide 6: Our analysis, assessment and solutions
Library
Before
After

## Slide 7: Our analysis, assessment and solutions
Theater
Before
After

## Slide 8: Our analysis, assessment and solutions
Administration
Before
After

## Slide 9: Our analysis, assessment and solutions
Meeting
room
Cafeteria
Offices
First floor

## Slide 10: Our analysis, assessment and solutions
Basement floor before

## Slide 11: Our analysis, assessment and solutions
Gallery
Art room
Music
room
Game room
Conference
room
Multipurpose
room
Tennis
room
Office
Bathrooms
Basement floor after

## Slide 12
Analysis of environmental aspects

## Slide 13
Over solar gain
The best orientation figure
Orientation of the building

## Slide 14
Solution :
vertical\horizontal shutters
South
West/East

## Slide 15
June 8:00 AM
June 4:00 PM
December 8:00 AM
December 4:00 PM
Shadows

## Slide 16
Daylight analysis
DL=3.48
Class room
Library
DL=3.54
Offices
DL=3.24

## Slide 17: Acoustical Design:
RT60 = 1.1
Added material:
Acoustical panels (α= 0.99)
Perforated metal panels (α= 0.97)

## Slide 18: Sound transmission :
STC total = 44
STC after improvement

## Slide 19
Structural
Aspects

## Slide 20: Slab thickness:
The slab thickness (h) = 320 mm

## Slide 21
Slab reinforcement:

## Slide 22: Beam design:

## Slide 23
Columns Design:

## Slide 24: Footing design

## Slide 25: Checks:
1- Compatibility check by using Etab program

## Slide 26: The maximum deformed shape of the model:
Max. deflection=3.5mm

## Slide 27
Load | Etab | Manual | % error
Dead | 12285 | 11825 | 3.8
Live | 4192 | 4285 | 2.1
Super imposed | 5192 | 5270 | 1.4
2- Global Equilibrium:
% Error < 5%
Acceptable error

## Slide 28
3- Internal Forces Check:
beams

## Slide 29: Slab

## Slide 30: columns

## Slide 31: seismic desgin:
Soil Type: Sc
Ca = 0.34
Cv = 0.64
Ct = 0.0488
I = 1
R = 4.5

## Slide 32: Check shear for seismic design:
VS (max) = 342.7 ton
VS (SAP) = 478 ton

## Slide 33
T (manual)= 0.21 sec
T (etab ) = 0.215 sec
OK
Natural Period (T) for the building:

## Slide 34
Mechanical
Design

## Slide 35: Mechanical design include:
1- Water supply system .
2- Drainage system design.
3- HVAC system design .

## Slide 36: Water supply system
We compute the diameter size for main horizontal feeder, main vertical feeder and the branches for each floor.
For basement floor
Number of fixture unit = 32and water demand 21 GPM.
So,
The main vertical feeder (galvanized steel )diameter = 2” .
The main Horizontal feeder (PVC) diameter = 1.5” .
The branches (PVC) diameter = 3/4” .

## Slide 37: Water distribution pipes for basement floor

## Slide 38: Drainage system design:
we divided the sewage system for two types:
Black water : from water closet , kitchen sink and service sink and this will go to the public sewage .
Gray water : from the lavatory and drinking fountain and this is will use again for irrigation .
**The vertical stack pipe diameter = 4”. **The main drain pipes (under ground pipes )diameter = 6”.

## Slide 39
Fixture unit | Drainage fixture unit | Diameter size(inch)
Water closet | 4 | 4
Lavatory | 1 | 2
Kitchen sink | 2 | 2
**The next table shows the fixtures and suitable stack diameter for each one :

## Slide 40: The drainage system for the bathroom :

## Slide 41: HVAC
For thermal calculation we use Revit MEP 2014 program to analyze and calculate thermal conductivity for each element in the project
External Wall layers (U=0.52 W/m^2.K)

## Slide 42
Layers of roof and ceiling
(U ceiling=0.53 W/m^2.K)
(U roof=0.49 W/m^2.K)

## Slide 43
This table shows the maximum cooling and heating load calculated for all building, using Revit MEP program:
Inputs | 
Building Type | School or University
Area (m²) | 1,659.35
Volume (m³) | 5,207.12
Calculated Results | 
Peak Cooling Total Load (W) | 117,106.0
Peak Cooling Month and Hour | September 14:00
Peak Cooling Sensible Load (W) | 100,332.3
Peak Cooling Latent Load (W) | 16,773.8
Maximum Cooling Capacity (W) | 123,724.7
Peak Cooling Airflow (m³/h) | 29,491
Peak Heating Load (W) | 28,037.0
Peak Heating Airflow (m³/h) | 5,802

## Slide 44
Electrical
Design

## Slide 45
Class room: E .avg =353 lux Uo=0.58
#of lamps=11
Work plane =75cm
Laminar distributed

## Slide 47: Conference room E .avg =320 lux Uo=0.587 #of lamps=19 Work plane =75cm
Laminar distributed

## Slide 49: Administration E .avg =336 lux Uo=0 .559 #of lamps=19 Work plane =75cm
Laminar distributed

## Slide 51: Gallary E .avg =364 lux Uo=0.576 #of lamps=21 #Led = 18 Work plane =75cm
Laminar distributed

## Slide 53
A Area of power | Ampere | MCB
6 | 30 | MCB for BF
6 | 30 | MCB for GF
4 | 20 | MCB for FF
Circuit breaker board
Ground Floor

## Slide 54
Basement

## Slide 55
First Floor

## Slide 56
Safety
Design

## Slide 57: Safety signs used and distributed in the building
Left Exit
Manual fire alarm
Extinguisher
sprinkler
Output stairs

## Slide 58: Distribution of Sprinklers and extinguisher in the building

## Slide 59
Quantity Surveying:
The total cost of cultural center for all element with mechanical & electrical elements
Total price : 2.9 million(NIS)
= 800 NIS/m2

## Slide 60: Conclusion:
In this project, we have made a redesign for the cultural center in order to have an eco-friendly cultural center.
We have achieved all the mandatory requirements of the green design in all the fields of the design such as:
Architectural Design:
By choosing the best orientation of the cultural center and be aware of all the parts of the student and take into consideration the indoor and outdoor spaces in designing the cultural center.
Structural Design:
By using one way ribbed slab for design and by taking into consideration the seismic design to have a safety construction.

## Slide 61
Environmental Design:
By choosing the best orientation of the cultural center and a glass in some its parts to get solar energy on the other hand by using shutters to avoid the glare to have an eco-friendly student center.
Mechanical Design :
By designing suitable drainage system and subtract the gray water with the black water
Electrical Design:
By designing each room to achieve a satiable lighting according to the usage of the room and to safe energy as much as we can

## Slide 62: Thank you